## xrf_data
Reading # | Job | Room | Side | Component | Substrate | Condition | Color | Result | PbC | Units
103 | 1908 East 5th st. | Calibration | [5 empty] | Positive | 1 | mg/cm2
104 | 1908 East 5th st. | Calibration | [5 empty] | Positive | 1 | mg/cm2
105 | 1908 East 5th st. | Calibration | [5 empty] | Negative | 0.9 | mg/cm2
106 | 1908 East 5th st. | Living Room | A | Wall | Wood | Intact | Grey | Negative | 0.2 | mg/cm2
107 | 1908 East 5th st. | Living Room | A | Ceiling | Drywall | Deteriorated | White | Negative | 0.2 | mg/cm2
108 | 1908 East 5th st. | Living Room | A | Crown Molding | Wood | Intact | White | Negative | 0.1 | mg/cm2
109 | 1908 East 5th st. | Living Room | A | Baseboard | Wood | Intact | White | Negative | 0.1 | mg/cm2
110 | 1908 East 5th st. | Living Room | A | Door Jamb | Wood | Intact | White | Negative | 0 | mg/cm2
111 | 1908 East 5th st. | Living Room | A | Door Casing | Wood | Intact | Grey | Negative | 0.1 | mg/cm2
112 | 1908 East 5th st. | Living Room | A | Window Sash | Wood | Intact | White | Negative | 0.1 | mg/cm2
113 | 1908 East 5th st. | Living Room | A | Window Casing | Wood | Intact | Grey | Negative | 0.1 | mg/cm2
114 | 1908 East 5th st. | Living Room | A | Window Sill | Wood | Intact | Grey | Negative | 0.1 | mg/cm2
115 | 1908 East 5th st. | Bedroom 1 | D | Wall | Drywall | Deteriorated | Beige | Negative | 0.2 | mg/cm2
116 | 1908 East 5th st. | Bedroom 1 | D | Ceiling | Drywall | Deteriorated | White | Negative | 0.2 | mg/cm2
117 | 1908 East 5th st. | Bedroom 1 | D | Baseboard | Wood | Intact | Tan | Negative | 0.2 | mg/cm2
118 | 1908 East 5th st. | Bedroom 1 | D | Door | Wood | Deteriorated | Beige | Negative | 0.2 | mg/cm2
119 | 1908 East 5th st. | Bedroom 1 | D | Door Jamb | Wood | Deteriorated | Beige | Negative | 0.3 | mg/cm2
120 | 1908 East 5th st. | Bedroom 1 | D | Door Casing | Wood | Deteriorated | Beige | Negative | 0.4 | mg/cm2
121 | 1908 East 5th st. | Bedroom 1 | A | Window Casing | Wood | Intact | Beige | Negative | 0.2 | mg/cm2
122 | 1908 East 5th st. | Bedroom 1 | A | Window Sill | Wood | Intact | Beige | Negative | 0.1 | mg/cm2
123 | 1908 East 5th st. | Bedroom 1 | A | Window Sash | Wood | Deteriorated | White | Negative | 0 | mg/cm2
124 | 1908 East 5th st. | Bedroom 2 | A | Wall | Drywall | Deteriorated | White | Negative | 0 | mg/cm2
125 | 1908 East 5th st. | Bedroom 2 | A | Ceiling | Drywall | Deteriorated | White | Negative | 0.1 | mg/cm2
126 | 1908 East 5th st. | Bedroom 2 | A | Baseboard | Wood | Intact | White | Negative | 0.4 | mg/cm2
127 | 1908 East 5th st. | Bedroom 2 | A | Door | Wood | Intact | Grey | Negative | 0.3 | mg/cm2
128 | 1908 East 5th st. | Bedroom 2 | A | Door Jamb | Wood | Deteriorated | Grey | Negative | 0.3 | mg/cm2
129 | 1908 East 5th st. | Bedroom 2 | A | Door Casing | Wood | Deteriorated | Grey | Negative | 0 | mg/cm2
130 | 1908 East 5th st. | Bathroom | A | Wall | Drywall | Deteriorated | Tan | Positive | 4.2 | mg/cm2
131 | 1908 East 5th st. | Bathroom | B | Wall | Drywall | Deteriorated | Tan | Negative | 0.2 | mg/cm2
132 | 1908 East 5th st. | Bathroom | B | Ceiling | Drywall | Deteriorated | White | Negative | 0.1 | mg/cm2
133 | 1908 East 5th st. | Bathroom | D | Wall | Drywall | Deteriorated | Tan | Negative | 0.1 | mg/cm2
134 | 1908 East 5th st. | Bathroom | A | Door | Wood | Deteriorated | White | Negative | 0.1 | mg/cm2
135 | 1908 East 5th st. | Bathroom | A | Door Jamb | Wood | Deteriorated | White | Negative | 0.4 | mg/cm2
136 | 1908 East 5th st. | Bathroom | A | Door Casing | Wood | Deteriorated | Tan | Negative | 0.5 | mg/cm2
137 | 1908 East 5th st. | Bathroom | C | Window Sash | Wood | Intact | White | Negative | 0 | mg/cm2
138 | 1908 East 5th st. | Bathroom | C | Window Casing | Wood | Intact | White | Negative | 0.1 | mg/cm2
139 | 1908 East 5th st. | Kitchen | B | Wall | Wood | Deteriorated | Tan | Negative | 0.3 | mg/cm2
140 | 1908 East 5th st. | Kitchen | C | Wall | Wood | Deteriorated | Tan | Negative | 0.2 | mg/cm2
141 | 1908 East 5th st. | Kitchen | C | Ceiling | Wood | Deteriorated | White | Negative | 0.4 | mg/cm2
142 | 1908 East 5th st. | Kitchen | C | Crown Molding | Wood | Intact | White | Negative | 0.2 | mg/cm2
143 | 1908 East 5th st. | Kitchen | C | Door | Wood | Deteriorated | Tan | Negative | -0.1 | mg/cm2
144 | 1908 East 5th st. | Kitchen | C | Door Jamb | Wood | Deteriorated | Tan | Negative | 0.1 | mg/cm2
145 | 1908 East 5th st. | Kitchen | C | Door Casing | Wood | Deteriorated | Tan | Negative | 0.2 | mg/cm2
146 | 1908 East 5th st. | Kitchen | D | Window Sash | Wood | Intact | Tan | Negative | 0.4 | mg/cm2
147 | 1908 East 5th st. | Kitchen | D | Window Casing | Wood | Intact | Tan | Negative | 0 | mg/cm2
148 | 1908 East 5th st. | House | A | Door Casing | Wood | Intact | White | Negative | 0.2 | mg/cm2
149 | 1908 East 5th st. | House | A | Soffit | Vinyl | Intact | White | Negative | -0.1 | mg/cm2
150 | 1908 East 5th st. | House | A | Fascia | Vinyl | Intact | White | Negative | 0 | mg/cm2
151 | 1908 East 5th st. | House | A | Window Sash | Wood | Deteriorated | White | Negative | 0 | mg/cm2
152 | 1908 East 5th st. | House | A | Window Casing | Metal | Intact | White | Negative | 0 | mg/cm2
153 | 1908 East 5th st. | House | A | Window Sill | Metal | Intact | White | Negative | 0.2 | mg/cm2
154 | 1908 East 5th st. | House | B | Window Sill | Metal | Intact | White | Negative | 0.1 | mg/cm2
155 | 1908 East 5th st. | House | B | Wall | Vinyl | Intact | Beige | Negative | 0.3 | mg/cm2
156 | 1908 East 5th st. | House | C | Wall | Vinyl | Intact | Beige | Negative | 0.3 | mg/cm2
157 | 1908 East 5th st. | House | D | Wall | Vinyl | Intact | Beige | Negative | 0 | mg/cm2
158 | 1908 East 5th st. | Calibration | [5 empty] | Positive | 1 | mg/cm2
159 | 1908 East 5th st. | Calibration | [5 empty] | Positive | 1 | mg/cm2
160 | 1908 East 5th st. | Calibration | [5 empty] | Positive | 1 | mg/cm2