## xrf_data
Reading # | Job | Room | Side | Component | Substrate | Condition | Color | Result | PbC | Units
1 | 18045 NC Hwy 87 W | Calibration | [5 empty] | Positive | 1 | mg/cm2
2 | 18045 NC Hwy 87 W | Calibration | [5 empty] | Positive | 1 | mg/cm2
3 | 18045 NC Hwy 87 W | Calibration | [5 empty] | Positive | 1 | mg/cm2
4 | 18045 NC Hwy 87 W | Living Room | A | Wall | Wood | Intact | White | Negative | 0.1 | mg/cm2
5 | 18045 NC Hwy 87 W | Living Room | A | Ceiling | Wood | Intact | White | Negative | -0.1 | mg/cm2
6 | 18045 NC Hwy 87 W | Living Room | A | Crown Molding | Wood | Intact | White | Negative | 0.1 | mg/cm2
7 | 18045 NC Hwy 87 W | Living Room | A | Baseboard | Wood | Intact | White | Negative | 0.2 | mg/cm2
8 | 18045 NC Hwy 87 W | Living Room | A | Door | Wood | Intact | White | Negative | 0.2 | mg/cm2
9 | 18045 NC Hwy 87 W | Living Room | A | Door Casing | Wood | Intact | White | Negative | 0.1 | mg/cm2
10 | 18045 NC Hwy 87 W | Living Room | A | Window Sash | Wood | Intact | White | Negative | 0.1 | mg/cm2
11 | 18045 NC Hwy 87 W | Living Room | A | Window Casing | Wood | Intact | White | Negative | 0.2 | mg/cm2
12 | 18045 NC Hwy 87 W | Living Room | A | Window Sill | Wood | Intact | White | Negative | 0.1 | mg/cm2
13 | 18045 NC Hwy 87 W | Dining Room | A | Wall | Wood | Intact | White | Negative | 0.2 | mg/cm2
14 | 18045 NC Hwy 87 W | Dining Room | C | Crown Molding | Wood | Intact | White | Negative | 0.1 | mg/cm2
15 | 18045 NC Hwy 87 W | Dining Room | C | Baseboard | Wood | Intact | White | Negative | 0.2 | mg/cm2
16 | 18045 NC Hwy 87 W | Dining Room | C | Door | Wood | Deteriorated | White | Negative | 0.2 | mg/cm2
17 | 18045 NC Hwy 87 W | Dining Room | C | Door Jamb | Wood | Deteriorated | White | Negative | 0.3 | mg/cm2
18 | 18045 NC Hwy 87 W | Dining Room | C | Door Casing | Wood | Deteriorated | White | Negative | 0.3 | mg/cm2
19 | 18045 NC Hwy 87 W | Kitchen | B | Wall | Wood | Intact | Brown | Negative | 0.2 | mg/cm2
20 | 18045 NC Hwy 87 W | Kitchen | B | Baseboard | Wood | Intact | Brown | Negative | 0.2 | mg/cm2
21 | 18045 NC Hwy 87 W | Kitchen | D | Window Sash | Wood | Intact | Brown | Negative | 0.3 | mg/cm2
22 | 18045 NC Hwy 87 W | Kitchen | D | Window Casing | Wood | Intact | Brown | Negative | 0.1 | mg/cm2
23 | 18045 NC Hwy 87 W | Kitchen | D | Window Sill | Wood | Intact | Brown | Negative | 0.5 | mg/cm2
24 | 18045 NC Hwy 87 W | Kitchen | C | Door Casing | Wood | Intact | Brown | Negative | 0.4 | mg/cm2
25 | 18045 NC Hwy 87 W | Den | C | Door Casing | Wood | Intact | Brown | Negative | 0.4 | mg/cm2
26 | 18045 NC Hwy 87 W | Den | C | Door Casing | Wood | Deteriorated | Brown | Negative | 0.3 | mg/cm2
27 | 18045 NC Hwy 87 W | Den | C | Door Jamb | Wood | Deteriorated | Brown | Negative | 0.2 | mg/cm2
28 | 18045 NC Hwy 87 W | Den | C | Window Sash | Wood | Intact | Brown | Negative | 0.3 | mg/cm2
29 | 18045 NC Hwy 87 W | Den | C | Window Casing | Wood | Intact | Brown | Negative | 0 | mg/cm2
30 | 18045 NC Hwy 87 W | Den | C | Window Sill | Wood | Intact | Brown | Negative | 0 | mg/cm2
31 | 18045 NC Hwy 87 W | Den | C | Baseboard | Wood | Intact | Brown | Negative | 0 | mg/cm2
32 | 18045 NC Hwy 87 W | Bedroom 3 | D | Wall | Wood | Intact | Beige | Negative | 0 | mg/cm2
33 | 18045 NC Hwy 87 W | Bedroom 3 | D | Crown Molding | Wood | Intact | Beige | Negative | 0.1 | mg/cm2
34 | 18045 NC Hwy 87 W | Bedroom 3 | D | Baseboard | Wood | Intact | Beige | Negative | 0.2 | mg/cm2
35 | 18045 NC Hwy 87 W | Bedroom 3 | D | Door Jamb | Wood | Intact | Beige | Negative | 0.4 | mg/cm2
36 | 18045 NC Hwy 87 W | Bedroom 3 | D | Door Casing | Wood | Intact | Beige | Negative | 0.2 | mg/cm2
37 | 18045 NC Hwy 87 W | Bedroom 3 | B | Window Sash | Wood | Intact | Beige | Negative | 0 | mg/cm2
38 | 18045 NC Hwy 87 W | Bedroom 3 | B | Window Casing | Wood | Intact | Beige | Negative | 0.1 | mg/cm2
39 | 18045 NC Hwy 87 W | Bedroom 3 | B | Window Sill | Wood | Intact | Beige | Negative | 0 | mg/cm2
40 | 18045 NC Hwy 87 W | Bedroom 2 | C | Wall | Wood | Intact | Beige | Negative | 0.1 | mg/cm2
41 | 18045 NC Hwy 87 W | Bedroom 2 | C | Crown Molding | Wood | Intact | Beige | Negative | -0.2 | mg/cm2
42 | 18045 NC Hwy 87 W | Bedroom 2 | C | Baseboard | Wood | Intact | Beige | Negative | 0.2 | mg/cm2
43 | 18045 NC Hwy 87 W | Bedroom 2 | C | Door | Wood | Intact | Beige | Negative | 0.2 | mg/cm2
44 | 18045 NC Hwy 87 W | Bedroom 2 | C | Door Jamb | Wood | Intact | Beige | Negative | 0.2 | mg/cm2
45 | 18045 NC Hwy 87 W | Bedroom 2 | C | Door Casing | Wood | Intact | Beige | Negative | 0.2 | mg/cm2
46 | 18045 NC Hwy 87 W | Bedroom 2 | A | Window Sash | Wood | Intact | White | Negative | 0.2 | mg/cm2
47 | 18045 NC Hwy 87 W | Bedroom 2 | A | Window Sash | Wood | Intact | White | Negative | 0 | mg/cm2
48 | 18045 NC Hwy 87 W | Bedroom 2 | A | Window Sill | Wood | Intact | White | Negative | 0.1 | mg/cm2
49 | 18045 NC Hwy 87 W | Bathroom | C | Wall | Wood | Intact | White | Negative | 0.1 | mg/cm2
50 | 18045 NC Hwy 87 W | Bathroom | C | Baseboard | Wood | Intact | White | Negative | 0 | mg/cm2
51 | 18045 NC Hwy 87 W | Bathroom | C | Door | Wood | Intact | White | Negative | 0.1 | mg/cm2
52 | 18045 NC Hwy 87 W | Bathroom | C | Door Jamb | Wood | Intact | White | Negative | 0 | mg/cm2
53 | 18045 NC Hwy 87 W | Bathroom | C | Door Casing | Wood | Intact | White | Negative | 0 | mg/cm2
54 | 18045 NC Hwy 87 W | Bathroom | C | Window Sash | Wood | Intact | White | Negative | 0 | mg/cm2
55 | 18045 NC Hwy 87 W | Bathroom | C | Window Casing | Wood | Intact | White | Negative | 0.1 | mg/cm2
56 | 18045 NC Hwy 87 W | Bathroom | C | Window Sill | Wood | Intact | White | Negative | 0.1 | mg/cm2
57 | 18045 NC Hwy 87 W | Bedroom 1 | D | Wall | Wood | Intact | White | Negative | 0.2 | mg/cm2
58 | 18045 NC Hwy 87 W | Bedroom 1 | D | Crown Molding | Wood | Intact | White | Negative | 0 | mg/cm2
59 | 18045 NC Hwy 87 W | Bedroom 1 | D | Door | Wood | Intact | White | Negative | 0 | mg/cm2
60 | 18045 NC Hwy 87 W | Bedroom 1 | D | Door Jamb | Wood | Intact | White | Negative | 0 | mg/cm2
61 | 18045 NC Hwy 87 W | Bedroom 1 | D | Door Casing | Wood | Intact | White | Negative | 0.3 | mg/cm2
62 | 18045 NC Hwy 87 W | Bedroom 1 | A | Window Sash | Wood | Intact | White | Negative | 0.1 | mg/cm2
63 | 18045 NC Hwy 87 W | Bedroom 1 | A | Window Casing | Wood | Intact | White | Negative | 0.1 | mg/cm2
64 | 18045 NC Hwy 87 W | Bedroom 1 | A | Window Sill | Wood | Intact | White | Negative | 0.1 | mg/cm2
65 | 18045 NC Hwy 87 W | Calibration | [5 empty] | Positive | 1 | mg/cm2
66 | 18045 NC Hwy 87 W | Calibration | [5 empty] | Positive | 1 | mg/cm2
67 | 18045 NC Hwy 87 W | Calibration | [5 empty] | Positive | 1 | mg/cm2
68 | 18045 NC Hwy 87 W | House | A | Door | Wood | Deteriorated | White | Positive | 4.3 | mg/cm2
69 | 18045 NC Hwy 87 W | House | A | Door Casing | Metal | Intact | White | Positive | 3.9 | mg/cm2
70 | 18045 NC Hwy 87 W | House | A | Window Casing | Metal | Intact | White | Positive | 3.1 | mg/cm2
71 | 18045 NC Hwy 87 W | House | A | Window Sill | Metal | Intact | White | Negative | 0.6 | mg/cm2
72 | 18045 NC Hwy 87 W | House | A | Fascia | Metal | Intact | White | Negative | 0.2 | mg/cm2
73 | 18045 NC Hwy 87 W | House | A | Wall | Metal | Intact | White | Positive | 1.9 | mg/cm2
74 | 18045 NC Hwy 87 W | House | B | Wall | Metal | Intact | White | Negative | 0.1 | mg/cm2
75 | 18045 NC Hwy 87 W | House | B | Window Casing | Metal | Intact | White | Negative | 0 | mg/cm2
76 | 18045 NC Hwy 87 W | House | C | Window Casing | Metal | Intact | White | Negative | 0.1 | mg/cm2
77 | 18045 NC Hwy 87 W | House | C | Window Sill | Metal | Intact | White | Negative | 0.1 | mg/cm2
78 | 18045 NC Hwy 87 W | House | C | Wall | Metal | Intact | White | Negative | 0.1 | mg/cm2
79 | 18045 NC Hwy 87 W | House | D | Wall | Metal | Intact | White | Positive | 1.4 | mg/cm2
80 | 18045 NC Hwy 87 W | House | D | Window Casing | Metal | Intact | White | Positive | 3.8 | mg/cm2
81 | 18045 NC Hwy 87 W | House | D | Window Sill | Metal | Intact | White | Positive | 2.4 | mg/cm2
82 | 18045 NC Hwy 87 W | Front Porch | A | Porch Ceiling | Vinyl | Intact | White | Positive | 1.1 | mg/cm2
83 | 18045 NC Hwy 87 W | Front Porch | A | Porch Header | Vinyl | Intact | White | Positive | 1.8 | mg/cm2
84 | 18045 NC Hwy 87 W | Front Porch | A | Porch Column | Metal | Intact | Black | Negative | 0.3 | mg/cm2
85 | 18045 NC Hwy 87 W | Front Porch | A | Porch Floor | Wood | Deteriorated | Grey | Negative | 0.3 | mg/cm2
86 | 18045 NC Hwy 87 W | Calibration | [5 empty] | Positive | 1 | mg/cm2
87 | 18045 NC Hwy 87 W | Calibration | [5 empty] | Positive | 1 | mg/cm2
88 | 18045 NC Hwy 87 W | Calibration | [5 empty] | Positive | 1 | mg/cm2