## Sheet1
Job Id | Reading # | Concentration | Units | 3 SD | Result | Calibration Reading | Action Level | RTA Present | Read Through | NomSecs | Date | Time | User | Mode | Analytic Mode | Latitude | Longitude | Accuracy | Job | Location | Room | Side | Componet | -->Member | Substrate | Condition | -->Cause | Color
| 198 | 0.8 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 13:59 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Calibration
| 199 | 0.8 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 13:59 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Calibration
| 200 | 1.2 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 14:00 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Calibration
| 201 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:01 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Exterior | House | A | Room | Wall | Wood | Intact |  | Green
| 202 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:01 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Exterior | House | A | Door | Casing | Wood | Intact |  | Green
| 203 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 3 | 2022-05-04 | 14:02 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Exterior | House | A | Door | --- | Metal | Intact |  | Green
| 204 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:02 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Exterior | House | A | Window | Sill | Wood | Intact |  | Green
| 205 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:03 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Exterior | House | A | Window | Exterior Casing | Wood | Intact |  | Green
| 206 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:03 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Exterior | House | A | Porch | Column | Wood | Intact |  | Green
| 207 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:04 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Exterior | House | A | Porch | Ceiling | Wood | Intact |  | Green
| 208 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:04 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Exterior | House | A | Soffit |  | Wood | Intact |  | Green
| 209 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:05 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Exterior | House | A | Fascia |  | Wood | Intact |  | Green
| 210 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:06 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Exterior | House | A | Room | Wall | Wood | Intact |  | Green
| 211 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:06 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Exterior | House | A | Room | Wall | Metal | Intact |  | Green
| 212 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:07 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Exterior | House | B | Room | Wall | Metal | Intact |  | White
| 213 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:07 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Exterior | House | B | Window | Exterior Casing | Metal | Intact |  | Grey
| 214 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:08 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Exterior | House | C | Room | Wall | Metal | Intact |  | White
| 215 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:08 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Exterior | House | C | Door | --- | Metal | Intact |  | White
| 216 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:09 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Exterior | House | C | Window | Exterior Casing | Metal | Intact |  | Grey
| 217 | 0.7 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 14:10 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Exterior | House | C | Room | Wall | Metal | Intact |  | White
| 218 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:10 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Exterior | House | C | Room | Wall | Wood | Intact |  | Green
| 219 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:11 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Exterior | House | C | Window | Exterior Sill | Wood | Intact |  | Green
| 220 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:11 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Exterior | House | C | Window | Exterior Casing | Wood | Intact |  | Green
| 221 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:12 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Exterior | House | D | Room | Wall | Wood | Intact |  | Green
| 222 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:37 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Living Room | A | Room | Wall | Wood | Intact |  | Blue
| 223 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:38 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Living Room | B | Room | Wall | Wood | Intact |  | Blue
| 224 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:38 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Living Room | C | Room | Wall | Wood | Intact |  | Blue
| 225 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:39 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Living Room | D | Room | Wall | Wood | Intact |  | Blue
| 226 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:39 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Living Room | A | Door | --- | Metal | Intact |  | Green
| 227 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:40 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Living Room | A | Door | Casing | Wood | Intact |  | Brown
| 228 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:40 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Living Room | A | Window | Sill | Wood | Intact |  | Brown
| 229 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:41 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Den | A | Window | Sill | Wood | Intact |  | Brown
| 230 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:41 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Den | A | Window | Casing | Wood | Intact |  | Brown
| 231 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:42 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Den | A | Room | Wall | Wood | Intact |  | White
| 232 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:42 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Den | B | Room | Wall | Wood | Intact |  | White
| 233 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:42 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Den | C | Room | Wall | Wood | Intact |  | White
| 234 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:43 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Den | D | Room | Wall | Wood | Intact |  | White
| 235 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:43 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Den | D | Fire Place | Mantle | Wood | Intact |  | Clear Coat
| 236 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:44 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Bedroom 1 | A | Room | Wall | Wood | Intact |  | Brown
| 237 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:44 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Bedroom 1 | B | Room | Wall | Wood | Intact |  | Brown
| 238 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:45 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Bedroom 1 | C | Room | Wall | Wood | Intact |  | Brown
| 239 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:45 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Bedroom 1 | D | Room | Wall | Wood | Intact |  | Brown
| 240 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:46 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Bedroom 1 | A | Window | Sill | Wood | Intact |  | Brown
| 241 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:46 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Bedroom 1 | D | Door | --- | Wood | Intact |  | Brown
| 242 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:46 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Bedroom 1 | D | Door | Casing | Wood | Intact |  | White
| 243 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:47 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Bedroom 2 | A | Room | Wall | Wood | Intact |  | Brown
| 244 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:48 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Bedroom 2 | B | Room | Wall | Wood | Intact |  | Purple
| 245 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:48 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Bedroom 2 | C | Room | Wall | Wood | Intact |  | Brown
| 246 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:49 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Bedroom 2 | C | Window | Sill | Wood | Intact |  | Brown
| 247 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:49 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Bedroom 2 | D | Room | Wall | Wood | Intact |  | Brown
| 248 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:50 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Bedroom 2 | B | Door | --- | Wood | Intact |  | White
| 249 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:50 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Bedroom 2 | B | Door | Casing | Wood | Intact |  | Blue
| 250 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:51 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Bathroom | A | Room | Wall | Wood | Intact |  | Orange
| 251 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:51 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Bathroom | B | Room | Wall | Wood | Intact |  | Orange
| 252 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:52 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Bathroom | C | Room | Wall | Wood | Intact |  | Orange
| 253 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:52 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Bathroom | D | Room | Wall | Wood | Intact |  | Orange
| 254 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:52 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Bathroom | C | Tub |  | Ceramic | Intact |  | White
| 255 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:53 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Bathroom | A | Door | --- | Wood | Intact |  | Brown
| 256 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:53 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Bathroom | A | Door | Casing | Wood | Intact |  | Blue
| 257 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:54 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Kitchen | A | Room | Wall | Wood | Intact |  | Brown
| 258 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:54 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Kitchen | B | Room | Wall | Wood | Intact |  | Brown
| 259 | 0.8 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 14:55 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Kitchen | C | Room | Wall | Wood | Intact |  | Brown
| 260 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:55 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Kitchen | D | Room | Wall | Wood | Intact |  | Brown
| 261 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:56 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Kitchen | C | Window | Sill | Wood | Intact |  | Brown
| 262 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:56 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Kitchen | D | Door | Casing | Wood | Intact |  | Beige
| 263 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:57 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Enclosed Porch | D | Door | Casing | Wood | Intact |  | Black
| 264 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:58 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Enclosed Porch | D | Door | --- | Wood | Intact |  | Brown
| 265 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:58 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Enclosed Porch | A | Room | Wall | Wood | Intact |  | Brown
| 266 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:58 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Enclosed Porch | C | Room | Wall | Metal | Intact |  | Brown
| 267 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:59 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Laundry Room | A | Room | Wall | Wood | Intact |  | Brown
| 268 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 14:59 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Laundry Room | B | Room | Wall | Wood | Intact |  | Brown
| 269 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 15:00 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Laundry Room | C | Room | Wall | Wood | Intact |  | Brown
| 270 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 15:00 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Laundry Room | D | Room | Wall | Wood | Intact |  | Brown
| 271 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 15:01 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Bedroom 3 | A | Room | Wall | Wood | Intact |  | Brown
| 272 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 15:01 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Bedroom 3 | B | Room | Wall | Wood | Intact |  | Brown
| 273 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 15:02 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Bedroom 3 | C | Room | Wall | Wood | Intact |  | Brown
| 274 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 15:02 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Bedroom 3 | C | Door | --- | Metal | Intact |  | Brown
| 275 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 15:03 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Bedroom 3 | D | Room | Wall | Wood | Intact |  | Brown
| 276 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 15:04 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Calibration
| 277 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 15:04 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Calibration
| 278 | 1.2 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 15:04 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 498 Gatlin Farm Rd | Apartment / Residential | Calibration