## Sheet1
Job Id | Reading # | Concentration | Units | 3 SD | Result | Calibration Reading | Action Level | RTA Present | Read Through | NomSecs | Date | Time | User | Mode | Analytic Mode | Latitude | Longitude | Accuracy | Job | Location | Room | Side | Componet | -->Member | Substrate | Condition | -->Cause | Color
| 1 | 1.1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 9:07 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Exterior | House | D | Door | Casing | Wood | Intact |  | White
| 2 | 1.1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 9:07 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Exterior | House | D | Door | Casing | Wood | Intact |  | White
| 3 | 1.1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 9:08 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Exterior | House | D | Door | Casing | Wood | Intact |  | White
| 4 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 9:09 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Exterior | House | A | Room | Wall | Vinyl | Intact |  | Light Blue
| 5 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 9:09 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Exterior | House | A | Trim |  | Vinyl | Intact |  | White
| 6 | 1.2 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 9:10 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Exterior | House | A | Window | Exterior Casing | Vinyl | Intact |  | White
| 7 | 1.1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 9:11 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Exterior | House | A | Window | Exterior Sill | Metal | Intact |  | White
| 8 | 3.8 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 9:12 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Exterior | House | A | Window | Exterior Sash | Metal | Intact |  | White
| 9 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 9:13 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Exterior | House | A | Door | --- | Metal | Intact |  | White
| 10 | 1.6 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 9:13 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Exterior | House | A | Door | Casing | Metal | Intact |  | White
| 11 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 9:14 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Exterior | House | A | Porch | Column | Metal | Intact |  | White
| 12 | 0.5 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 9:15 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Exterior | House | A | Porch | Floor | Concrete | Deteriorated |  | Grey
| 13 | 0.6 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 3 | 2022-05-04 | 9:15 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Exterior | House | A | Porch | Ceiling | Vinyl | Intact |  | White
| 14 | 8 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 9:16 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Exterior | House | A | Porch | Header | Vinyl | Intact |  | White
| 15 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 9:17 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Exterior | House | D | Room | Wall | Vinyl | Intact |  | Light Blue
| 16 | 5.3 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 9:18 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Exterior | House | D | Window | Exterior Casing | Metal | Intact |  | White
| 17 | 1.3 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 4 | 2022-05-04 | 9:18 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Exterior | House | D | Window | Exterior Sill | Metal | Intact |  | White
| 18 | 0.4 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 9:21 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Exterior | House | B | Window | Exterior Sill | Metal | Intact |  | White
| 19 | 8 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 9:22 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Exterior | House | B | Window | Exterior Casing | Metal | Intact |  | White
| 20 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 9:22 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Exterior | House | B | Room | Wall | Vinyl | Intact |  | Light Blue
| 21 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 9:23 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Exterior | House | C | Room | Wall | Vinyl | Intact |  | Light Blue
| 22 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 9:24 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Exterior | House | C | Door | --- | Metal | Intact |  | White
| 23 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 9:24 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Exterior | House | C | Door | Casing | Wood | Deteriorated |  | White
| 24 | 0.4 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 9:25 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Exterior | House | C | Window | Exterior Sill | Metal | Intact |  | White
| 25 | 1.9 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 9:25 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Exterior | House | C | Window | Exterior Casing | Metal | Intact |  | White
| 26 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 9:52 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Kitchen/Dining Room | A | Room | Wall | Drywall | Intact |  | Brown
| 27 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 9:53 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Kitchen/Dining Room | B | Room | Wall | Drywall | Intact |  | Brown
| 28 | 0.4 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 9:53 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Kitchen/Dining Room | C | Room | Wall | Drywall | Intact |  | Brown
| 29 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 9:54 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Kitchen/Dining Room | D | Room | Wall | Drywall | Intact |  | Brown
| 30 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 9:54 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Kitchen/Dining Room | A | Window | Sill | Wood | Intact |  | Brown
| 31 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 9:55 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Kitchen/Dining Room | A | Window | Casing | Wood | Intact |  | White
| 32 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 9:55 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Kitchen/Dining Room | D | Room | Crown Molding | Wood | Intact |  | White
| 33 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 9:55 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Kitchen/Dining Room | D | Room | Baseboard | Wood | Intact |  | White
| 34 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 9:56 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Kitchen/Dining Room | C | Cabinets | Door | Wood | Intact |  | Brown
| 35 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 9:56 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Kitchen/Dining Room | C | Cabinets | Frame | Wood | Intact |  | Brown
| 36 | 1.4 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 9:57 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Kitchen/Dining Room | D | Door | --- | Wood | Intact |  | White
| 37 | 1.2 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 9:58 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Kitchen/Dining Room | D | Door | Casing | Wood | Intact |  | White
| 38 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 9:59 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bathroom | A | Door | Casing | Wood | Intact |  | White
| 39 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:00 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bathroom | A | Door | --- | Wood | Intact |  | White
| 40 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:00 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bathroom | C | Window | Sill | Wood | Intact |  | White
| 41 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:00 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bathroom | C | Window | Casing | Wood | Intact |  | White
| 42 | 0.8 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 10:01 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bathroom | D | Tub |  | Ceramic | Intact |  | White
| 43 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:02 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bathroom | C | Room | Wall | Drywall | Intact |  | Green
| 44 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:02 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bathroom | B | Room | Wall | Drywall | Intact |  | Green
| 45 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:03 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bathroom | A | Room | Wall | Drywall | Intact |  | Green
| 46 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:03 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bathroom | D | Room | Wall | Drywall | Intact |  | Green
| 47 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:04 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bathroom |  | Room | Ceiling | Drywall | Intact |  | White
| 48 | 0.4 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 3 | 2022-05-04 | 10:04 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Living Room | A | Room | Wall | Drywall | Intact |  | White
| 49 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:04 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Living Room | B | Room | Wall | Drywall | Intact |  | White
| 50 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:05 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Living Room | C | Room | Wall | Drywall | Intact |  | White
| 51 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:05 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Living Room | D | Room | Wall | Drywall | Intact |  | White
| 52 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:06 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Living Room | A | Door | --- | Metal | Intact |  | White
| 53 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:06 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Living Room | A | Door | Casing | Metal | Intact |  | White
| 54 | 3 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:07 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Living Room | B | Window | Sill | Wood | Intact |  | White
| 55 | 2.7 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:07 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Living Room | B | Window | Casing | Wood | Intact |  | White
| 56 | 0.7 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 4 | 2022-05-04 | 10:08 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Living Room | B | Fire Place | Mantle | Wood | Intact |  | White
| 57 | 0.4 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:09 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Living Room | B | Fire Place | Frame | Wood | Intact |  | White
| 58 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:09 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Living Room | B | Bookcase | Shelf | Wood | Intact |  | White
| 59 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:10 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Living Room | B | Bookcase | Frame | Wood | Intact |  | White
| 60 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:10 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Living Room | D | Room | Baseboard | Wood | Intact |  | White
| 61 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:11 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Living Room |  | Room | Floor | Wood | Intact |  | Clear Coat
| 62 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:11 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Living Room |  | Room | Ceiling | Drywall | Intact |  | White
| 63 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:12 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bedroom 1 | A | Room | Wall | Drywall | Intact |  | White
| 64 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:12 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bedroom 1 | B | Room | Wall | Drywall | Intact |  | White
| 65 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:13 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bedroom 1 | C | Room | Wall | Drywall | Intact |  | White
| 66 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:13 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bedroom 1 | D | Room | Wall | Drywall | Intact |  | White
| 67 | 1.9 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:14 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bedroom 1 | A | Window | Sill | Wood | Intact |  | White
| 68 | 4.6 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:14 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bedroom 1 | A | Window | Casing | Wood | Intact |  | White
| 69 | 3.1 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:15 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bedroom 1 | B | Door | --- | Wood | Intact |  | White
| 70 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:16 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bedroom 1 | B | Door | Casing | Wood | Intact |  | White
| 71 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:16 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bedroom 1 | B | Room | Baseboard | Wood | Intact |  | White
| 72 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:17 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bedroom 1 |  | Room | Ceiling | Drywall | Intact |  | White
| 73 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:18 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Den | A | Room | Wall | Drywall | Intact |  | Yellow
| 74 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:18 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Den | D | Room | Wall | Drywall | Intact |  | Yellow
| 75 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:18 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Den | B | Room | Wall | Drywall | Intact |  | Yellow
| 76 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:19 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Den | C | Room | Wall | Drywall | Intact |  | Yellow
| 77 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:19 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Den | D | Door | --- | Metal | Intact |  | White
| 78 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:20 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Den | D | Door | Casing | Wood | Intact |  | White
| 79 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:21 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bedroom 2 | A | Door | --- | Wood | Intact |  | Brown
| 80 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:21 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bedroom 2 | A | Door | Casing | Wood | Intact |  | Brown
| 81 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:22 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bedroom 2 | A | Room | Wall | Wood | Intact |  | Brown
| 82 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:22 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bedroom 2 | B | Room | Wall | Wood | Intact |  | Brown
| 83 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:22 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bedroom 2 | C | Room | Wall | Wood | Intact |  | Brown
| 84 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:23 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bedroom 2 | D | Room | Wall | Wood | Intact |  | Brown
| 85 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:23 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bedroom 2 | D | Window | Sill | Wood | Intact |  | Brown
| 86 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:24 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bedroom 3 | A | Room | Wall | Drywall | Intact |  | Purple
| 87 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:24 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bedroom 3 | B | Room | Wall | Drywall | Intact |  | Purple
| 88 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:25 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bedroom 3 | C | Room | Wall | Drywall | Intact |  | Purple
| 89 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:25 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bedroom 3 | D | Room | Wall | Drywall | Intact |  | Purple
| 90 | 2.9 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:25 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bedroom 3 | D | Window | Sill | Wood | Intact |  | White
| 91 | 3.3 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:26 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bedroom 3 | D | Window | Casing | Wood | Intact |  | White
| 92 | 2.7 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:27 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bedroom 3 | B | Door | --- | Wood | Intact |  | White
| 93 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:27 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Bedroom 3 | B | Door | Casing | Wood | Intact |  | White
| 94 | 2.1 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:28 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Enclosed Porch | A | Door | Casing | Wood | Intact |  | Red
| 95 | 2.6 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:29 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Enclosed Porch | A | Window | Casing | Wood | Intact |  | Grey
| 96 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:30 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Enclosed Porch | B | Room | Wall | Concrete | Intact |  | Grey
| 97 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:30 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Enclosed Porch | B | Door | --- | Metal | Intact |  | White
| 98 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:31 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Enclosed Porch | B | Door | Casing | Wood | Intact |  | White
| 99 | 6.8 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:31 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Enclosed Porch | C | Window | Casing | Wood | Intact |  | Red
| 100 | 2.6 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:32 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Enclosed Porch | C | Window | Sill | Wood | Intact |  | Red
| 101 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:33 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Enclosed Porch | C | Room | Wall | Concrete | Intact |  | Grey
| 102 | 2.5 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 10:33 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Enclosed Porch | D | Window | Casing | Wood | Intact |  | Grey
| 103 | 1.2 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 10:36 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Calibration
| 104 | 1.2 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 10:36 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Calibration
| 105 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 10:37 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 402 Oakland | Apartment / Residential | Calibration