## Sheet1
Job Id | Reading # | Concentration | Units | 3 SD | Result | Calibration Reading | Action Level | RTA Present | Read Through | NomSecs | Date | Time | User | Mode | Analytic Mode | Latitude | Longitude | Accuracy | Job | Location | Room | Side | Componet | -->Member | Substrate | Condition | -->Cause | Color
| 106 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 11:49 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Calibration
| 107 | 0.9 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 11:50 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Calibration
| 108 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 11:50 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Calibration
| 109 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 11:52 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bedroom 2 | A | Room | Wall | Plaster | Intact |  | White
| 110 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 11:52 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bedroom 2 | B | Room | Wall | Plaster | Intact |  | White
| 111 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 11:52 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bedroom 2 | C | Room | Wall | Plaster | Intact |  | White
| 112 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 11:53 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bedroom 2 | D | Room | Wall | Plaster | Intact |  | White
| 113 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 11:53 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bedroom 2 | A | Window | Sill | Wood | Intact |  | White
| 114 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 11:54 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bedroom 2 | C | Door | --- | Wood | Intact |  | White
| 115 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 11:54 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bedroom 2 | C | Door | Casing | Wood | Intact |  | White
| 116 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 11:54 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bedroom 2 |  | Room | Ceiling | Drywall | Intact |  | White
| 117 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 11:55 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bedroom 1 | A | Room | Wall | Plaster | Intact |  | White
| 118 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 11:56 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bedroom 1 | B | Room | Wall | Plaster | Intact |  | White
| 119 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 11:56 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bedroom 1 | C | Room | Wall | Plaster | Intact |  | White
| 120 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 11:56 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bedroom 1 | D | Room | Wall | Plaster | Intact |  | White
| 121 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 11:57 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bedroom 1 | A | Window | Sill | Wood | Intact |  | White
| 122 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 11:57 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bedroom 1 | C | Door | --- | Wood | Intact |  | White
| 123 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 11:58 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bedroom 1 | C | Door | Casing | Wood | Intact |  | White
| 124 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 11:58 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bedroom 1 |  | Room | Ceiling | Plaster | Intact |  | White
| 125 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:00 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bedroom 3 | A | Room | Ceiling | Plaster | Intact |  | White
| 126 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:00 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bedroom 3 | B | Room | Ceiling | Plaster | Intact |  | White
| 127 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:00 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bedroom 3 | B | Window | Sill | Wood | Intact |  | White
| 128 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:01 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bedroom 3 | D | Room | Wall | Plaster | Intact |  | White
| 129 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:01 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bedroom 3 | C | Room | Wall | Plaster | Intact |  | White
| 130 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:02 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bedroom 3 | D | Door | --- | Wood | Intact |  | White
| 131 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:02 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bedroom 3 | D | Door | Casing | Wood | Intact |  | White
| 132 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:03 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | 1/2 Bathroom | B | Door | Casing | Wood | Intact |  | White
| 133 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:03 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | 1/2 Bathroom | B | Door | --- | Wood | Intact |  | White
| 134 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:04 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | 1/2 Bathroom | A | Room | Wall | Plaster | Intact |  | White
| 135 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:04 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | 1/2 Bathroom | B | Room | Wall | Plaster | Intact |  | White
| 136 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:04 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | 1/2 Bathroom | C | Room | Wall | Plaster | Intact |  | White
| 137 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:05 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | 1/2 Bathroom | D | Room | Wall | Plaster | Intact |  | White
| 138 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:06 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bathroom 1 | A | Room | Wall | Wood | Intact |  | Brown
| 139 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:06 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bathroom 1 | B | Room | Wall | Plaster | Intact |  | White
| 140 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:06 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bathroom 1 | C | Room | Wall | Plaster | Intact |  | White
| 141 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:07 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bathroom 1 | D | Room | Wall | Plaster | Intact |  | White
| 142 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:07 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bathroom 1 | D | Room | Wall | Ceramic | Intact |  | White
| 143 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:08 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bathroom 1 | D | Tub |  | Ceramic | Intact |  | White
| 144 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:08 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bathroom 1 | C | Window | Sill | Wood | Intact |  | White
| 145 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:09 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bathroom 1 |  | Room | Floor | Ceramic | Intact |  | Red
| 146 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:09 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bathroom 1 | A | Door | --- | Wood | Intact |  | White
| 147 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:10 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bathroom 1 | A | Door | Casing | Wood | Intact |  | White
| 148 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:10 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bedroom 4 | A | Door | Casing | Wood | Intact |  | White
| 149 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:10 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bedroom 4 | A | Door | --- | Wood | Intact |  | White
| 150 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:11 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bedroom 4 | C | Window | Sill | Wood | Intact |  | White
| 151 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:11 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bedroom 4 | A | Room | Wall | Plaster | Intact |  | White
| 152 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:12 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bedroom 4 | B | Room | Wall | Plaster | Intact |  | White
| 153 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:12 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bedroom 4 | C | Room | Wall | Plaster | Intact |  | White
| 154 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:12 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Bedroom 4 | D | Room | Wall | Plaster | Intact |  | White
| 155 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:13 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Kitchen | A | Room | Wall | Plaster | Intact |  | White
| 156 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:13 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Kitchen | B | Room | Wall | Plaster | Intact |  | White
| 157 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:14 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Kitchen | C | Room | Wall | Plaster | Intact |  | White
| 158 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:14 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Kitchen | D | Room | Wall | Plaster | Intact |  | White
| 159 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:15 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Kitchen | C | Door | --- | Wood | Intact |  | White
| 160 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:15 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Kitchen | C | Door | Casing | Wood | Intact |  | White
| 161 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:15 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Kitchen | D | Window | Sill | Wood | Intact |  | White
| 162 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:16 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Kitchen | D | Cabinets | Door | Wood | Intact |  | White
| 163 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:16 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Kitchen | D | Cabinets | Frame | Wood | Intact |  | White
| 164 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:17 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Kitchen |  | Room | Ceiling | Plaster | Intact |  | White
| 165 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:17 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Laundry Room | A | Room | Wall | Plaster | Intact |  | White
| 166 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:18 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Laundry Room | B | Room | Wall | Plaster | Intact |  | White
| 167 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:18 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Laundry Room | C | Room | Wall | Plaster | Intact |  | White
| 168 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:18 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Laundry Room | D | Room | Wall | Plaster | Intact |  | White
| 169 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:19 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Laundry Room | A | Door | --- | Wood | Intact |  | White
| 170 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:19 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Laundry Room | A | Door | Casing | Wood | Intact |  | White
| 171 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:20 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Living Room | A | Door | Casing | Wood | Intact |  | White
| 172 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:20 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Living Room | A | Door | --- | Wood | Intact |  | Brown
| 173 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:21 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Living Room | A | Room | Wall | Plaster | Intact |  | White
| 174 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:21 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Living Room | B | Room | Wall | Plaster | Intact |  | White
| 175 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:21 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Living Room | C | Room | Wall | Plaster | Intact |  | White
| 176 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:22 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Living Room | D | Room | Wall | Plaster | Intact |  | White
| 177 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:22 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Living Room | D | Window | Sill | Wood | Intact |  | White
| 178 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:54 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Exterior | House | A | Window | Exterior Sash | Metal | Intact |  | White
| 179 | 0.4 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:54 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Exterior | House | A | Window | Shutter | Vinyl | Intact |  | Brown
| 180 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:55 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Exterior | House | A | Window | Shutter | Vinyl | Intact |  | Beige
| 181 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:55 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Exterior | House | A | Door | --- | Metal | Intact |  | White
| 182 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:56 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Exterior | House | A | Door | Casing | Wood | Intact |  | White
| 183 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:57 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Exterior | House | A | Room | Wall | Brick | Intact |  | Red
| 184 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:57 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Exterior | House | A | Porch | Column | Wood | Intact |  | White
| 185 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:58 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Exterior | House | A | Soffit |  | Wood | Intact |  | White
| 186 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:58 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Exterior | House | A | Fascia |  | Wood | Intact |  | White
| 187 | 0.4 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:59 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Exterior | House | B | Room | Wall | Brick | Intact |  | Red
| 188 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:00 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Exterior | House | B | Window | Exterior Casing | Metal | Intact |  | Grey
| 189 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:00 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Exterior | House | C | Window | Exterior Casing | Metal | Intact |  | Grey
| 190 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:01 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Exterior | House | C | Room | Wall | Wood | Intact |  | White
| 191 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:02 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Exterior | House | D | Room | Wall | Brick | Intact |  | Red
| 192 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:02 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Exterior | House | D | Door | --- | Metal | Intact |  | Brown
| 193 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:03 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Exterior | House | D | Door | Casing | Wood | Deteriorated |  | Brown
| 194 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:03 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Exterior | House | D | Window | Exterior Casing | Metal | Intact |  | Grey
| 195 | 1.3 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 13:04 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Calibration
| 196 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 13:05 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Calibration
| 197 | 0.8 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 13:05 | eigroup | Action Level | Lead Paint | 0 | 0 | 0 | 2105 Decor | Apartment / Residential | Calibration