## readings
Job Id | Reading # | Concentration | Units | 3 SD | Result | Calibration Reading | Action Level | RTA Present | Read Through | NomSecs | Date | Time | User | Mode | Analytic Mode | Latitude | Longitude | Accuracy | Job | Location | Room | Side | Componet | -->Member | Substrate | Condition | -->Cause | Color
| 1 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-07 | 11:45 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Calibration
| 2 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-07 | 11:46 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Calibration
| 3 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-07 | 11:46 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Calibration
| 4 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 11:48 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Living Room | A | Room | Wall | Wood | Intact |  | White
| 5 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 11:48 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Living Room | A | Room | Ceiling | Wood | Intact |  | White
| 6 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 11:49 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Living Room | A | Room | Crown Molding | Wood | Intact |  | White
| 7 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 11:49 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Living Room | A | Room | Baseboard | Wood | Intact |  | White
| 8 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 11:49 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Living Room | A | Door |  | Wood | Intact |  | White
| 9 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 11:50 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Living Room | A | Door | Casing | Wood | Intact |  | White
| 10 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 11:50 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Living Room | A | Window | Sash | Wood | Intact |  | White
| 11 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 11:50 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Living Room | A | Window | Casing | Wood | Intact |  | White
| 12 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 11:50 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Living Room | A | Window | Sill | Wood | Intact |  | White
| 13 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 11:51 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Dining Room | A | Room | Wall | Wood | Intact |  | White
| 14 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 11:52 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Dining Room | C | Room | Crown Molding | Wood | Intact |  | White
| 15 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 11:52 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Dining Room | C | Room | Baseboard | Wood | Intact |  | White
| 16 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 11:53 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Dining Room | C | Door |  | Wood | Deteriorated |  | White
| 17 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 11:53 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Dining Room | C | Door | Jamb | Wood | Deteriorated |  | White
| 18 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 11:53 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Dining Room | C | Door | Casing | Wood | Deteriorated |  | White
| 19 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 11:54 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Kitchen | B | Room | Wall | Wood | Intact |  | Brown
| 20 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 11:54 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Kitchen | B | Room | Baseboard | Wood | Intact |  | Brown
| 21 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 11:55 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Kitchen | D | Window | Sash | Wood | Intact |  | Brown
| 22 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 11:55 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Kitchen | D | Window | Casing | Wood | Intact |  | Brown
| 23 | 0.5 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 11:56 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Kitchen | D | Window | Sill | Wood | Intact |  | Brown
| 24 | 0.4 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 11:56 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Kitchen | C | Door | Casing | Wood | Intact |  | Brown
| 25 | 0.4 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 11:57 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Den | C | Door | Casing | Wood | Intact |  | Brown
| 26 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 11:57 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Den | C | Door | Casing | Wood | Deteriorated |  | Brown
| 27 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 11:57 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Den | C | Door | Jamb | Wood | Deteriorated |  | Brown
| 28 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 11:58 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Den | C | Window | Sash | Wood | Intact |  | Brown
| 29 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 11:58 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Den | C | Window | Casing | Wood | Intact |  | Brown
| 30 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 11:59 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Den | C | Window | Sill | Wood | Intact |  | Brown
| 31 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 11:59 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Den | C | Room | Baseboard | Wood | Intact |  | Brown
| 32 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:00 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bedroom 3 | D | Room | Wall | Wood | Intact |  | Beige
| 33 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:00 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bedroom 3 | D | Room | Crown Molding | Wood | Intact |  | Beige
| 34 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:01 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bedroom 3 | D | Room | Baseboard | Wood | Intact |  | Beige
| 35 | 0.4 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:01 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bedroom 3 | D | Door | Jamb | Wood | Intact |  | Beige
| 36 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:01 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bedroom 3 | D | Door | Casing | Wood | Intact |  | Beige
| 37 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:02 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bedroom 3 | B | Window | Sash | Wood | Intact |  | Beige
| 38 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:02 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bedroom 3 | B | Window | Casing | Wood | Intact |  | Beige
| 39 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:02 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bedroom 3 | B | Window | Sill | Wood | Intact |  | Beige
| 40 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:03 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bedroom 2 | C | Room | Wall | Wood | Intact |  | Beige
| 41 | -0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:04 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bedroom 2 | C | Room | Crown Molding | Wood | Intact |  | Beige
| 42 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:04 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bedroom 2 | C | Room | Baseboard | Wood | Intact |  | Beige
| 43 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:04 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bedroom 2 | C | Door |  | Wood | Intact |  | Beige
| 44 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:05 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bedroom 2 | C | Door | Jamb | Wood | Intact |  | Beige
| 45 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:05 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bedroom 2 | C | Door | Casing | Wood | Intact |  | Beige
| 46 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:06 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bedroom 2 | A | Window | Sash | Wood | Intact |  | White
| 47 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:06 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bedroom 2 | A | Window | Sash | Wood | Intact |  | White
| 48 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:07 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bedroom 2 | A | Window | Sill | Wood | Intact |  | White
| 49 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:13 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bathroom | C | Room | Wall | Wood | Intact |  | White
| 50 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:14 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bathroom | C | Room | Baseboard | Wood | Intact |  | White
| 51 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:14 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bathroom | C | Door |  | Wood | Intact |  | White
| 52 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:15 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bathroom | C | Door | Jamb | Wood | Intact |  | White
| 53 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:15 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bathroom | C | Door | Casing | Wood | Intact |  | White
| 54 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:16 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bathroom | C | Window | Sash | Wood | Intact |  | White
| 55 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:16 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bathroom | C | Window | Casing | Wood | Intact |  | White
| 56 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:16 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bathroom | C | Window | Sill | Wood | Intact |  | White
| 57 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:17 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bedroom 1 | D | Room | Wall | Wood | Intact |  | White
| 58 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:18 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bedroom 1 | D | Room | Crown Molding | Wood | Intact |  | White
| 59 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:18 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bedroom 1 | D | Door |  | Wood | Intact |  | White
| 60 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:18 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bedroom 1 | D | Door | Jamb | Wood | Intact |  | White
| 61 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:19 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bedroom 1 | D | Door | Casing | Wood | Intact |  | White
| 62 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:19 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bedroom 1 | A | Window | Sash | Wood | Intact |  | White
| 63 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:19 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bedroom 1 | A | Window | Casing | Wood | Intact |  | White
| 64 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:20 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Bedroom 1 | A | Window | Sill | Wood | Intact |  | White
| 65 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-07 | 12:22 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Calibration | A | Window | Sill | Wood | Intact |  | White
| 66 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-07 | 12:22 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Calibration | A | Window | Sill | Wood | Intact |  | White
| 67 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-07 | 12:22 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Apartment / Residential | Calibration | A | Window | Sill | Wood | Intact |  | White
| 68 | 4.3 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:36 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Exterior | House | A | Door |  | Wood | Deteriorated |  | White
| 69 | 3.9 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:36 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Exterior | House | A | Door | Casing | Metal | Intact |  | White
| 70 | 3.1 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:37 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Exterior | House | A | Window | Casing | Metal | Intact |  | White
| 71 | 0.6 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:38 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Exterior | House | A | Window | Sill | Metal | Intact |  | White
| 72 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:39 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Exterior | House | A | Fascia |  | Metal | Intact |  | White
| 73 | 1.9 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:39 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Exterior | House | A | Room | Wall | Metal | Intact |  | White
| 74 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:40 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Exterior | House | B | Room | Wall | Metal | Intact |  | White
| 75 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:40 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Exterior | House | B | Window | Casing | Metal | Intact |  | White
| 76 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:41 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Exterior | House | C | Window | Casing | Metal | Intact |  | White
| 77 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:41 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Exterior | House | C | Window | Sill | Metal | Intact |  | White
| 78 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:42 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Exterior | House | C | Room | Wall | Metal | Intact |  | White
| 79 | 1.4 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:42 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Exterior | House | D | Room | Wall | Metal | Intact |  | White
| 80 | 3.8 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:43 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Exterior | House | D | Window | Casing | Metal | Intact |  | White
| 81 | 2.4 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:43 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Exterior | House | D | Window | Sill | Metal | Intact |  | White
| 82 | 1.1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-07 | 12:44 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Exterior | Front Porch | A | Porch | Ceiling | Vinyl | Intact |  | White
| 83 | 1.8 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:45 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Exterior | Front Porch | A | Porch | Header | Vinyl | Intact |  | White
| 84 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:46 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Exterior | Front Porch | A | Porch | Column | Metal | Intact |  | Black
| 85 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-07 | 12:46 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Exterior | Front Porch | A | Porch | Floor | Wood | Deteriorated |  | Grey
| 86 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-07 | 12:47 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Exterior | Calibration
| 87 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-07 | 12:47 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Exterior | Calibration
| 88 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-07 | 12:48 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 18045 NC 87 | Exterior | Calibration