## readings
Job Id | Reading # | Concentration | Units | 3 SD | Result | Calibration Reading | Action Level | RTA Present | Read Through | NomSecs | Date | Time | User | Mode | Analytic Mode | Latitude | Longitude | Accuracy | Job | Location | Room | Side | Componet | -->Member | Substrate | Condition | -->Cause | Color
| 171 | 1.1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 12:04 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Exterior | Calibration | D | Room | Wall | Vinyl | Intact |  | Blue
| 172 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 12:04 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Exterior | Calibration | D | Room | Wall | Vinyl | Intact |  | Blue
| 173 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 12:05 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Exterior | Calibration | D | Room | Wall | Vinyl | Intact |  | Blue
| 174 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:10 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bathroom | A | Room | Wall | Drywall | Intact |  | Blue
| 175 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:10 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bathroom | A | Door | --- | Wood | Intact |  | White
| 176 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:11 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bathroom | A | Door | Jamb | Wood | Intact |  | White
| 177 | 0.5 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:11 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bathroom | A | Door | Frame | Wood | Intact |  | White
| 178 | -0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:11 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bathroom | A | Room | Baseboard | Wood | Intact |  | White
| 179 | -0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:12 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bathroom | C | Tub |  | Ceramic | Intact |  | White
| 180 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:16 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Kitchen | C | Room | Wall | Drywall | Intact |  | White
| 181 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:17 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Kitchen | B | Window | Sill | Wood | Intact |  | White
| 182 | 0.9 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 12:17 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Kitchen | B | Window | Sash | Wood | Intact |  | White
| 183 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:18 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Kitchen | B | Cabinets |  | Wood | Intact |  | White
| 184 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:18 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Kitchen | C | Window | Frame | Wood | Intact |  | White
| 185 | -0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:20 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 1 | C | Room | Wall | Drywall | Intact |  | White
| 186 | 0.6 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 3 | 2022-05-04 | 12:20 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 1 | D | Door |  | Wood | Intact |  | White
| 187 | 1.1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 12:20 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 1 | D | Door | Frame | Wood | Intact |  | White
| 188 | 1.5 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:21 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 1 | D | Window | Sill | Wood | Intact |  | White
| 189 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:22 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 1 | D | Window | Sash | Wood | Intact |  | White
| 190 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:22 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 1 | D | Room | Floor | Wood | Deteriorated |  | Brown
| 191 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:23 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Dining Room | D | Room | Ceiling | Drywall | Intact |  | White
| 192 | -0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:24 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Dining Room | D | Room | Floor | Wood | Deteriorated |  | Brown
| 193 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:24 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Dining Room | D | Room | Floor | Wood | Deteriorated |  | Brown
| 194 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:25 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Dining Room | D | Room | Floor | Wood | Deteriorated |  | Tan
| 195 | 0.5 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 4 | 2022-05-04 | 12:25 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Dining Room | C | Window | Sill | Wood | Deteriorated |  | Tan
| 196 | 0.6 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:25 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Dining Room | C | Window | Sash | Wood | Deteriorated |  | Tan
| 197 | 3.1 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:26 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Dining Room | C | Window | Frame | Wood | Deteriorated |  | Tan
| 198 | 4.9 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:27 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Living Room | D | Window | Frame | Wood | Intact |  | Brown
| 199 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:27 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Living Room | D | Window | Sill | Wood | Intact |  | Brown
| 200 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:28 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Living Room | D | Window | Sash | Wood | Intact |  | Brown
| 201 | 6.4 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:28 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Living Room | D | Room | Wall | Drywall | Intact |  | White
| 202 | -0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:29 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Living Room | C | Door | Jamb | Wood | Intact |  | White
| 203 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:29 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Living Room | C | Door | Frame | Wood | Intact |  | Brown
| 204 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:35 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 2 | D | Window | Sill | Wood | Intact |  | White
| 205 | 1.1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 12:36 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 2 | D | Window | Sash | Wood | Intact |  | White
| 206 | 2.2 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:37 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 2 | D | Window | Frame | Wood | Intact |  | White
| 207 | 3.4 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:38 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 2 | C | Door |  | Wood | Intact |  | White
| 208 | 5.7 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:38 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 2 | C | Door | Jamb | Wood | Intact |  | White
| 209 | 2.3 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:39 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 2 | C | Door | Frame | Wood | Intact |  | White
| 210 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:40 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Foyer | C | Room | Floor | Wood | Intact |  | Blue
| 211 | -0.5 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:41 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Hallway | C | Room | Wall | Drywall | Intact |  | Green
| 212 | 2.9 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:42 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Hallway | C | Stair |  | Wood | Intact |  | White
| 213 | 4.5 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:45 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 3 | A | Room | Baseboard | Wood | Intact |  | White
| 214 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:46 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 3 | C | Door |  | Wood | Intact |  | White
| 215 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:46 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 3 | C | Door | Frame | Wood | Intact |  | White
| 216 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:46 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 3 | C | Door | Jamb | Wood | Intact |  | White
| 217 | 4 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:47 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 3 | D | Window | Frame | Wood | Intact |  | White
| 218 | 2.7 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:48 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 3 | D | Window | Sash | Wood | Intact |  | White
| 219 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:48 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 3 | D | Window | Sill | Wood | Intact |  | White
| 220 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:50 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 4 | A | Room | Wall | Drywall | Intact |  | Purple
| 221 | 0.9 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 12:50 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 4 | B | Door |  | Wood | Intact |  | White
| 222 | 0.7 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 12:51 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 4 | B | Door | Jamb | Wood | Intact |  | White
| 223 | 1.1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 12:51 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 4 | B | Door | Frame | Wood | Intact |  | White
| 224 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:52 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 4 | A | Window | Sill | Wood | Intact |  | White
| 225 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:53 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 4 | A | Window | Frame | Wood | Intact |  | White
| 226 | 0.7 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 12:53 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 4 | A | Window | Sash | Wood | Intact |  | White
| 227 | 0.9 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 12:56 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 5 | A | Window | Sash | Wood | Intact |  | White
| 228 | 3.8 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:56 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 5 | A | Window | Sill | Wood | Intact |  | White
| 229 | 2.7 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:57 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 5 | A | Window | Frame | Wood | Intact |  | White
| 230 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:57 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 5 | A | Room | Wall | Drywall | Intact |  | Red
| 231 | 1.6 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:58 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 5 | D | Door |  | Wood | Deteriorated |  | Brown
| 232 | 2.8 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:58 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 5 | D | Door | Jamb | Wood | Intact |  | White
| 233 | 1.8 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 12:59 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 5 | D | Door | Frame | Wood | Intact |  | White
| 234 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:00 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Family Room | D | Room | Wall | Drywall | Intact |  | Tan
| 235 | -0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:00 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Family Room | A | Window | Sill | Wood | Intact |  | White
| 236 | -0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:00 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Family Room | A | Window | Sash | Wood | Intact |  | White
| 237 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:01 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Family Room | A | Window | Frame | Wood | Intact |  | White
| 238 | -0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:02 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 6 | B | Door | --- | Wood | Intact |  | Brown
| 239 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:02 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 6 | B | Door | Jamb | Wood | Intact |  | White
| 240 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:02 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bedroom 6 | B | Door | Frame | Wood | Intact |  | White
| 241 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:03 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Hallway | A | Room | Wall | Wood | Intact |  | White
| 242 | -0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:04 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bathroom 2 | A | Room | Wall | Drywall | Intact |  | Blue
| 243 | 2 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:05 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bathroom 2 | C | Window | Sill | Wood | Intact |  | White
| 244 | 9.3 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:05 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bathroom 2 | C | Window | Frame | Wood | Intact |  | White
| 245 | 0.5 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:06 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bathroom 2 | C | Door | --- | Wood | Intact |  | White
| 246 | 1.6 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:06 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bathroom 2 | C | Door | Jamb | Wood | Intact |  | White
| 247 | 4.7 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:07 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bathroom 2 | C | Door | Frame | Wood | Intact |  | White
| 248 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:07 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Apartment / Residential | Bathroom 2 | A | Tub |  | Ceramic | Intact |  | White
| 249 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:20 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Exterior | House | A | Column |  | Wood | Intact |  | White
| 250 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:21 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Exterior | House | A | Stair |  | Concrete | Deteriorated |  | Red
| 251 | 7.5 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:21 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Exterior | House | A | Soffit |  | Wood | Intact |  | White
| 252 | 0.8 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 13:22 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Exterior | House | A | Fascia |  | Wood | Intact |  | White
| 253 | 8.1 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:22 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Exterior | House | A | Window | Frame | Wood | Intact |  | White
| 254 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:23 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Exterior | House | A | Window | Sill | Wood | Intact |  | White
| 255 | 6.2 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:23 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Exterior | House | A | Room | Wall | Wood | Intact |  | White
| 256 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:24 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Exterior | House | A | Door |  | Wood | Intact |  | White
| 257 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:24 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Exterior | House | A | Door | Frame | Wood | Intact |  | White
| 258 | 0.4 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:26 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Exterior | House | D | Room | Wall | Wood | Intact |  | White
| 259 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:26 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Exterior | House | D | Window | Sash | Wood | Deteriorated |  | White
| 260 | 0.5 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:28 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Exterior | House | D | Door |  | Wood | Intact |  | White
| 261 | 0.7 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 4 | 2022-05-04 | 13:28 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Exterior | House | C | Room | Wall | Wood | Intact |  | White
| 262 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:29 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Exterior | House | C | Window | Sill | Wood | Deteriorated |  | White
| 263 | 0.9 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 13:29 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Exterior | House | C | Window | Sash | Wood | Deteriorated |  | White
| 264 | 0.8 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 13:30 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Exterior | House | C | Window | Frame | Wood | Deteriorated |  | White
| 265 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:31 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Exterior | House | D | Window | Frame | Wood | Intact |  | White
| 266 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:31 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Exterior | House | D | Window | Sill | Wood | Intact |  | White
| 267 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-04 | 13:31 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Exterior | House | D | Room | Wall | Wood | Intact |  | White
| 268 | 0.9 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 13:34 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Exterior | Calibration | D | Room | Wall | Wood | Intact |  | White
| 269 | 1.2 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 13:34 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Exterior | Calibration | D | Room | Wall | Wood | Intact |  | White
| 270 | 0.9 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-04 | 13:35 | EI Group | Action Level | Lead Paint | 0 | 0 | 0 | 5651 | Exterior | Calibration | D | Room | Wall | Wood | Intact |  | White