## Sheet1
Job Id | Reading # | Concentration | Units | 3 SD | Result | Calibration Reading | Action Level | RTA Present | Read Through | NomSecs | Date | Time | User | Mode | Analytic Mode | Latitude | Longitude | Accuracy | Job | Location | Room | Side | Componet | -->Member | Substrate | Condition | -->Cause | Color
| 228 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-12 | 9:23 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Calibration | A | Room | Ceiling | Drywall | Deteriorated |  | White
| 229 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-12 | 9:23 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Calibration | A | Room | Ceiling | Drywall | Deteriorated |  | White
| 230 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-12 | 9:24 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Calibration | A | Room | Ceiling | Drywall | Deteriorated |  | White
| 231 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:24 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Exterior | House | A | Porch | Skirt board | Wood | Deteriorated |  | White
| 232 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:25 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Exterior | House | A | Porch | Skirt board | Concrete | Deteriorated |  | Black
| 233 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:25 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Exterior | House | A | Porch | Floor | Wood | Deteriorated |  | Clear Coat
| 234 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:26 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Exterior | House | A | Porch | Railing | Wood | Deteriorated |  | Black
| 235 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:26 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Exterior | House | A | Porch | Column | Wood | Deteriorated |  | Black
| 236 | 0.7 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 4 | 2022-05-12 | 9:26 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Exterior | House | A | Porch | Ceiling | Wood | Deteriorated |  | White
| 237 | 6.1 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:27 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Exterior | House | A | Soffit |  | Wood | Deteriorated |  | White
| 238 | 4 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:28 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Exterior | House | A | Fascia |  | Wood | Deteriorated |  | White
| 239 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:28 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Exterior | House | A | Window | Sash | Wood | Deteriorated |  | Black
| 240 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:29 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Exterior | House | A | Window | Sill | Wood | Deteriorated |  | Black
| 241 | 0.4 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:29 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Exterior | House | B | Window | Frame | Wood | Deteriorated |  | Black
| 242 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:29 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Exterior | House | B | Window | Sill | Wood | Deteriorated |  | Black
| 243 | 4.6 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:30 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Exterior | House | A | Room | Wall | Wood | Deteriorated |  | White
| 244 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:30 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Exterior | House | B | Room | Wall | Wood | Deteriorated |  | White
| 245 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:31 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Exterior | House | C | Room | Wall | Wood | Deteriorated |  | White
| 246 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:31 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Exterior | House | C | Room | Wall | Wood | Deteriorated |  | Black
| 247 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:31 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Exterior | House | C | Window | Frame | Wood | Deteriorated |  | Black
| 248 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:32 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Exterior | House | C | Window | Sash | Metal | Intact |  | Clear Coat
| 249 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:32 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Exterior | House | C | Porch | Floor | Wood | Intact |  | Clear Coat
| 250 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:33 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Exterior | House | C | Porch | Column | Wood | Deteriorated |  | Black
| 251 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:33 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Exterior | House | C | Porch | Railing | Wood | Deteriorated |  | Black
| 252 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:33 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Exterior | House | C | Porch | Ceiling | Wood | Deteriorated |  | White
| 253 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:34 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Exterior | House | D | Room | Wall | Wood | Deteriorated |  | White
| 254 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:34 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Exterior | House | D | Room | Wall | Wood | Deteriorated |  | Black
| 255 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:35 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Exterior | House | D | Window | Frame | Wood | Deteriorated |  | Black
| 256 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:35 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Exterior | House | D | Window | Sash | Metal | Intact |  | Clear Coat
| 257 | 0.7 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 3 | 2022-05-12 | 9:36 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Living Room | A | Window | Frame | Wood | Intact |  | White
| 258 | 0.7 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 4 | 2022-05-12 | 9:37 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Living Room | A | Window | Sill | Wood | Intact |  | White
| 259 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:37 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Living Room | A | Door | --- | Wood | Intact |  | White
| 260 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:38 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Living Room | A | Door | Casing | Wood | Intact |  | White
| 261 | 0.4 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:38 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Living Room | A | Room | Crown Molding | Wood | Intact |  | White
| 262 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:38 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Living Room | A | Room | Baseboard | Wood | Intact |  | White
| 263 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:39 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Living Room | A | Room | Floor | Wood | Intact |  | White
| 264 | 0.5 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:39 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Living Room | A | Room | Wall | Wood | Intact |  | White
| 265 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:40 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Kitchen | A | Room | Wall | Wood | Intact |  | White
| 266 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:40 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Kitchen | B | Room | Crown Molding | Wood | Intact |  | Blue
| 267 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:41 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Kitchen | B | Door |  | Wood | Intact |  | White
| 268 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:41 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Kitchen | B | Door | Casing | Wood | Intact |  | White
| 269 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:41 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Kitchen | B | Cabinets |  | Wood | Intact |  | Clear Coat
| 270 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:42 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Bathroom | B | Room | Wall | Vinyl | Intact |  | White
| 271 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:42 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Bathroom | B | Room | Baseboard | Wood | Intact |  | Clear Coat
| 272 | -0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:43 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Bathroom | C | Window | Sash | Wood | Intact |  | White
| 273 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:43 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Bathroom | C | Window | Sill | Wood | Intact |  | White
| 274 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:43 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Bathroom | D | Door |  | Wood | Intact |  | White
| 275 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:44 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Bathroom | D | Door | Casing | Wood | Intact |  | White
| 276 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:44 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Storage Room | C | Door | Casing | Wood | Intact |  | White
| 277 | -0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:45 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Storage Room | C | Door | Frame | Wood | Intact |  | White
| 278 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:45 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Storage Room | C | Room | Wall | Wood | Intact |  | Clear Coat
| 279 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:45 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Storage Room | C | Room | Baseboard | Wood | Intact |  | White
| 280 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:46 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Storage Room | C | Room | Crown Molding | Wood | Intact |  | White
| 281 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:46 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Storage Room | D | Window | Sash | Wood | Intact |  | White
| 282 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:46 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Storage Room | D | Window | Sill | Wood | Intact |  | White
| 283 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:47 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Storage Room | D | Room | Floor | Wood | Intact |  | Clear Coat
| 284 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:47 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Bedroom 1 | D | Room | Floor | Wood | Intact |  | Clear Coat
| 285 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:48 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Bedroom 1 | D | Window | Sash | Wood | Intact |  | White
| 286 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:48 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Bedroom 1 | D | Window | Sill | Wood | Intact |  | White
| 287 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:49 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Bedroom 1 | B | Door | --- | Wood | Intact |  | Blue
| 288 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:49 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Bedroom 1 | B | Door | Casing | Wood | Intact |  | Blue
| 289 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:49 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Bedroom 2 | B | Door | Casing | Wood | Intact |  | White
| 290 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:50 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Bedroom 2 | B | Door | Frame | Wood | Intact |  | White
| 291 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:50 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Bedroom 2 | B | Room | Wall | Wood | Intact |  | Blue
| 292 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:50 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Bedroom 2 | B | Room | Crown Molding | Wood | Intact |  | White
| 293 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:51 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Bedroom 2 | B | Room | Baseboard | Wood | Intact |  | White
| 294 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:52 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Bedroom 2 | D | Window | Sash | Wood | Intact |  | White
| 295 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-12 | 9:52 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Bedroom 2 | D | Window | Frame | Wood | Intact |  | White
| 296 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-12 | 9:53 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Calibration | D | Window | Frame | Wood | Intact |  | White
| 297 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-12 | 9:53 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Calibration | D | Window | Frame | Wood | Intact |  | White
| 298 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-12 | 9:53 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 406 Linden Street | Apartment / Residential | Calibration | D | Window | Frame | Wood | Intact |  | White