## Sheet1
Job Id | Reading # | Concentration | Units | 3 SD | Result | Calibration Reading | Action Level | RTA Present | Read Through | NomSecs | Date | Time | User | Mode | Analytic Mode | Latitude | Longitude | Accuracy | Job | Location | Room | Side | Componet | -->Member | Substrate | Condition | -->Cause | Color
| 118 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-03 | 11:15 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Calibration |  | Tub |  | Ceramic | Intact |  | Blue
| 119 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-03 | 11:16 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Calibration |  | Tub |  | Ceramic | Intact |  | Blue
| 120 | 0.9 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-03 | 11:16 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Calibration |  | Tub |  | Ceramic | Intact |  | Blue
| 121 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:20 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Exterior | House | A | Porch | Ceiling | Wood | Deteriorated |  | Grey
| 122 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:20 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Exterior | House | A | Porch | Floor | Wood | Deteriorated |  | Blue
| 123 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:21 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Exterior | House | A | Porch | Railing | Wood | Deteriorated |  | Clear Coat
| 124 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:21 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Exterior | House | A | Porch | Column | Wood | Deteriorated |  | Red
| 125 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:22 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Exterior | House | A | Fascia |  | Wood | Deteriorated |  | White
| 126 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:23 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Exterior | House | A | Room | Wall | Vinyl | Deteriorated |  | White
| 127 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:23 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Exterior | House | A | Room | Wall | Vinyl | Deteriorated |  | Brown
| 128 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:24 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Exterior | House | A | Room | Wall | Wood | Deteriorated |  | Beige
| 129 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:24 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Exterior | House | A | Door | --- | Metal | Deteriorated |  | White
| 130 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:24 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Exterior | House | A | Door | Casing | Wood | Deteriorated |  | Clear Coat
| 131 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:25 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Exterior | House | B | Room | Wall | Metal | Deteriorated |  | Clear Coat
| 132 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:26 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Exterior | House | B | Room | Wall | Metal | Deteriorated |  | Brown
| 133 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:26 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Exterior | House | B | Window | Frame | Metal | Deteriorated |  | Clear Coat
| 134 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:27 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Exterior | House | B | Window | Sash | Metal | Deteriorated |  | Clear Coat
| 135 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:27 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Exterior | House | C | Window | Sash | Metal | Deteriorated |  | Clear Coat
| 136 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:27 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Exterior | House | C | Window | Frame | Metal | Deteriorated |  | Clear Coat
| 137 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:28 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Exterior | House | C | Room | Wall | Metal | Deteriorated |  | Brown
| 138 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:28 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Exterior | House | C | Room | Wall | Metal | Deteriorated |  | White
| 139 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:28 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Exterior | House | C | Window | Frame | Metal | Deteriorated |  | Brown
| 140 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:29 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Exterior | House | C | Porch | Floor | Wood | Deteriorated |  | Clear Coat
| 141 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:29 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Exterior | House | C | Porch | Railing | Wood | Deteriorated |  | Clear Coat
| 142 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:30 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Exterior | House | C | Door | --- | Metal | Deteriorated |  | White
| 143 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:30 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Exterior | House | C | Door | Casing | Wood | Deteriorated |  | Clear Coat
| 144 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:31 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Exterior | House | C | Door | Frame | Metal | Deteriorated |  | Clear Coat
| 145 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:32 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Exterior | House | D | Room | Wall | Metal | Deteriorated |  | Clear Coat
| 146 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:32 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Exterior | House | D | Window | Sash | Metal | Deteriorated |  | Clear Coat
| 147 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:33 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Exterior | House | D | Window | Frame | Metal | Deteriorated |  | Clear Coat
| 148 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:33 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Exterior | House | D | Room | Wall | Wood | Deteriorated |  | Beige
| 149 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:34 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Family Room | A | Room | Wall | Drywall | Deteriorated |  | White
| 150 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:35 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Family Room | A | Room | Ceiling | Drywall | Deteriorated |  | White
| 151 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:35 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Family Room | A | Room | Floor | Vinyl | Deteriorated |  | Orange
| 152 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:36 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Family Room | A | Window | Sash | Wood | Deteriorated |  | Clear Coat
| 153 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:36 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Family Room | A | Window | Frame | Wood | Deteriorated |  | Clear Coat
| 154 | -0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:36 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Living Room | A | Window | Frame | Wood | Deteriorated |  | Clear Coat
| 155 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:37 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Living Room | A | Window | Sash | Wood | Deteriorated |  | Clear Coat
| 156 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:37 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Living Room | A | Room | Wall | Drywall | Deteriorated |  | White
| 157 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:37 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Living Room | A | Room | Crown Molding | Wood | Deteriorated |  | Clear Coat
| 158 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:38 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Bedroom 1 | A | Room | Wall | Wood | Deteriorated |  | White
| 159 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:39 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Bedroom 1 | A | Door | --- | Wood | Deteriorated |  | Clear Coat
| 160 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:39 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Bedroom 1 | A | Door | Frame | Wood | Deteriorated |  | Clear Coat
| 161 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:39 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Bedroom 1 | A | Window | Sash | Wood | Deteriorated |  | Clear Coat
| 162 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:40 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Bedroom 1 | A | Window | Frame | Wood | Deteriorated |  | Clear Coat
| 163 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:42 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Bathroom 1 | A | Door | --- | Wood | Deteriorated |  | White
| 164 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:42 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Bathroom 1 | A | Door | Casing | Wood | Deteriorated |  | White
| 165 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:43 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Bathroom 1 | C | Window | Sill | Wood | Intact |  | White
| 166 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:43 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Bathroom 1 | C | Window | Frame | Wood | Intact |  | White
| 167 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:43 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Bathroom 1 | C | Room | Wall | Wood | Deteriorated |  | White
| 168 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:44 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Bedroom 2 | C | Room | Wall | Wood | Deteriorated |  | Clear Coat
| 169 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:44 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Bedroom 2 | C | Room | Floor | Wood | Deteriorated |  | Clear Coat
| 170 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:45 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Bedroom 2 | C | Door | --- | Wood | Deteriorated |  | Clear Coat
| 171 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:45 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Bedroom 2 | C | Door | Casing | Wood | Deteriorated |  | Clear Coat
| 172 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:46 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Kitchen/Dining Room | C | Window | Sash | Wood | Intact |  | Clear Coat
| 173 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:46 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Kitchen/Dining Room | C | Window | Frame | Wood | Intact |  | Clear Coat
| 174 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:46 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Kitchen/Dining Room | C | Room | Wall | Wood | Intact |  | Clear Coat
| 175 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:47 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Kitchen/Dining Room | C | Cabinets | Door | Wood | Intact |  | Clear Coat
| 176 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:47 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Kitchen/Dining Room | C | Room | Floor | Vinyl | Deteriorated |  | Green
| 177 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:48 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Kitchen/Dining Room | C | Room | Ceiling | Wood | Deteriorated |  | White
| 178 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:48 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Bedroom 3 | D | Door | --- | Wood | Deteriorated |  | Clear Coat
| 179 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:49 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Bedroom 3 | D | Door | Casing | Wood | Deteriorated |  | Clear Coat
| 180 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:49 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Bedroom 3 | D | Room | Wall | Wood | Deteriorated |  | White
| 181 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:50 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Bedroom 3 | A | Room | Wall | Wood | Deteriorated |  | Clear Coat
| 182 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:50 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Bedroom 3 | A | Room | Floor | Vinyl | Deteriorated |  | Clear Coat
| 183 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:51 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Bathroom 2 | A | Room | Floor | Vinyl | Deteriorated |  | White
| 184 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-03 | 11:51 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Bathroom 2 | A | Room | Wall | Wood | Deteriorated |  | White
| 185 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-03 | 11:52 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Calibration | A | Room | Wall | Wood | Deteriorated |  | White
| 186 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-03 | 11:52 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Calibration | A | Room | Wall | Wood | Deteriorated |  | White
| 187 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-03 | 11:52 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 5512 | Apartment / Residential | Calibration | A | Room | Wall | Wood | Deteriorated |  | White