## Sheet1
Job Id | Reading # | Concentration | Units | 3 SD | Result | Calibration Reading | Action Level | RTA Present | Read Through | NomSecs | Date | Time | User | Mode | Analytic Mode | Latitude | Longitude | Accuracy | Job | Location | Room | Side | Componet | -->Member | Substrate | Condition | -->Cause | Color
| 150 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-10 | 11:45 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Calibration | C | Door | --- | Wood | Intact |  | White
| 151 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-10 | 11:45 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Calibration | C | Door | --- | Wood | Intact |  | White
| 152 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-10 | 11:45 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Calibration | C | Door | --- | Wood | Intact |  | White
| 153 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 11:47 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Exterior | House | A | Porch | Floor | Concrete | Intact |  | Clear Coat
| 154 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 11:48 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Exterior | House | A | Porch | Railing | Metal | Intact |  | White
| 155 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 11:48 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Exterior | House | A | Porch | Ceiling | Wood | Deteriorated |  | White
| 156 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 11:48 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Exterior | House | A | Soffit |  | Wood | Deteriorated |  | White
| 157 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 11:49 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Exterior | House | A | Fascia |  | Wood | Deteriorated |  | White
| 158 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 11:49 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Exterior | House | A | Room | Wall | Wood | Deteriorated |  | White
| 159 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 11:50 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Exterior | House | A | Room | Wall | Wood | Deteriorated |  | White
| 160 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 11:50 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Exterior | House | A | Door |  | Wood | Deteriorated |  | White
| 161 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 11:50 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Exterior | House | A | Door | Casing | Wood | Deteriorated |  | White
| 162 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 11:51 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Exterior | House | A | Window | Sash | Wood | Deteriorated |  | White
| 163 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 11:51 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Exterior | House | A | Window | Shutter | Wood | Deteriorated |  | Black
| 164 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 11:52 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Exterior | House | A | Room | Wall | Brick | Intact |  | Clear Coat
| 165 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 11:52 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Exterior | House | B | Porch | Wall | Wood | Intact |  | Red
| 166 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 11:53 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Exterior | House | B | Porch | Railing | Wood | Intact |  | White
| 167 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 11:53 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Exterior | House | B | Door |  | Wood | Deteriorated |  | Clear Coat
| 168 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 11:54 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Exterior | House | B | Door | Frame | Wood | Deteriorated |  | White
| 169 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 11:54 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Exterior | House | B | Window | Sash | Wood | Deteriorated |  | White
| 170 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 11:54 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Exterior | House | B | Window | Sill | Wood | Deteriorated |  | White
| 171 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 11:55 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Exterior | House | B | Room | Wall | Wood | Deteriorated |  | White
| 172 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 11:56 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Exterior | House | C | Room | Wall | Wood | Deteriorated |  | White
| 173 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 11:56 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Exterior | House | C | Room | Wall | Wood | Deteriorated |  | White
| 174 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 11:57 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Exterior | House | C | Window | Sash | Metal | Deteriorated |  | Clear Coat
| 175 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 11:57 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Exterior | House | C | Window | Frame | Wood | Deteriorated |  | Clear Coat
| 176 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 11:58 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Exterior | House | D | Window | Frame | Wood | Deteriorated |  | Clear Coat
| 177 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 11:58 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Exterior | House | D | Window | Sash | Wood | Deteriorated |  | White
| 178 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:05 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Storage Room | C | Room | Wall | Wood | Deteriorated |  | Clear Coat
| 179 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:06 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Storage Room | A | Door |  | Wood | Deteriorated |  | Clear Coat
| 180 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:06 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Storage Room | A | Door | Casing | Wood | Deteriorated |  | Clear Coat
| 181 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:06 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Bedroom 1 | C | Door | Casing | Wood | Deteriorated |  | Clear Coat
| 182 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:07 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Bedroom 1 | C | Door | --- | Wood | Deteriorated |  | Clear Coat
| 183 | 0.5 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:07 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Bedroom 1 | C | Room | Wall | Wood | Deteriorated |  | White
| 184 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:07 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Bedroom 1 | C | Room | Baseboard | Wood | Deteriorated |  | White
| 185 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:08 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Bedroom 1 | C | Room | Crown Molding | Wood | Deteriorated |  | White
| 186 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:08 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Bedroom 1 | C | Room | Ceiling | Wood | Deteriorated |  | White
| 187 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:08 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Bedroom 1 | C | Window | Sash | Wood | Deteriorated |  | White
| 188 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:09 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Bedroom 1 | C | Window | Sill | Wood | Deteriorated |  | White
| 189 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:09 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Kitchen | B | Window | Sill | Wood | Deteriorated |  | White
| 190 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:10 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Kitchen | B | Window | Frame | Wood | Deteriorated |  | Blue
| 191 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:10 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Kitchen | B | Cabinets |  | Wood | Deteriorated |  | Blue
| 192 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:10 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Kitchen | A | Room | Wall | Wood | Deteriorated |  | Clear Coat
| 193 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:11 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Living Room/Dining Room | A | Room | Wall | Wood | Intact |  | Clear Coat
| 194 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:11 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Living Room/Dining Room | A | Room | Ceiling | Wood | Intact |  | White
| 195 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:12 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Living Room/Dining Room | A | Window | Sash | Wood | Intact |  | White
| 196 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:12 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Living Room/Dining Room | A | Window | Sill | Wood | Intact |  | White
| 197 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:13 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Bathroom | A | Room | Wall | Wood | Deteriorated |  | Blue
| 198 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:13 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Bathroom | A | Door |  | Wood | Deteriorated |  | White
| 199 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:13 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Bathroom | A | Door | Casing | Wood | Deteriorated |  | Brown
| 200 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:14 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Bathroom | A | Tub |  | Metal | Intact |  | White
| 201 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:14 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Bathroom | A | Window | Sash | Wood | Intact |  | White
| 202 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:15 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Bathroom | A | Window | Sill | Wood | Intact |  | White
| 203 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:15 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Room 1 | C | Window | Sill | Wood | Intact |  | White
| 204 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:15 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Room 1 | C | Window | Sash | Wood | Intact |  | White
| 205 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:16 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Room 1 | C | Room | Wall | Wood | Intact |  | Clear Coat
| 206 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:16 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Room 1 | C | Room | Baseboard | Wood | Intact |  | White
| 207 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:16 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Room 1 | C | Room | Ceiling | Wood | Intact |  | Brown
| 208 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:17 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Room 1 | C | Room | Crown Molding | Wood | Intact |  | Brown
| 209 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:17 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Room 2 | C | Room | Baseboard | Wood | Intact |  | Beige
| 210 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:18 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Room 2 | C | Room | Wall | Drywall | Deteriorated |  | White
| 211 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:18 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Room 2 | D | Window | Sash | Wood | Deteriorated |  | Clear Coat
| 212 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:18 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Room 2 | D | Window | Sill | Wood | Deteriorated |  | Clear Coat
| 213 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:19 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Room 2 | B | Door |  | Wood | Intact |  | White
| 214 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:19 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Room 2 | B | Door | Casing | Wood | Intact |  | White
| 215 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:20 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Room 2 | B | Room | Floor | Wood | Deteriorated |  | Clear Coat
| 216 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:20 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Room 3 | A | Room | Floor | Wood | Deteriorated |  | Clear Coat
| 217 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:20 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Room 3 | A | Room | Baseboard | Wood | Deteriorated |  | White
| 218 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:21 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Room 3 | A | Room | Wall | Drywall | Deteriorated |  | White
| 219 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:21 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Room 3 | A | Window | Sash | Wood | Deteriorated |  | White
| 220 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:21 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Room 3 | A | Window | Sill | Wood | Deteriorated |  | White
| 221 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:22 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Room 4 | A | Window | Sill | Wood | Deteriorated |  | White
| 222 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:22 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Room 4 | A | Window | Frame | Wood | Deteriorated |  | White
| 223 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:22 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Room 4 | A | Room | Wall | Wood | Deteriorated |  | Clear Coat
| 224 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-10 | 12:23 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Room 4 | A | Room | Ceiling | Drywall | Deteriorated |  | White
| 225 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-10 | 12:24 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Calibration | A | Room | Ceiling | Drywall | Deteriorated |  | White
| 226 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-10 | 12:24 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Calibration | A | Room | Ceiling | Drywall | Deteriorated |  | White
| 227 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-10 | 12:25 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 14 E Pridgeton Blvd | Apartment / Residential | Calibration | A | Room | Ceiling | Drywall | Deteriorated |  | White