## Sheet1
Job Id | Reading # | Concentration | Units | 3 SD | Result | Calibration Reading | Action Level | RTA Present | Read Through | NomSecs | Date | Time | User | Mode | Analytic Mode | Latitude | Longitude | Accuracy | Job | Location | Room | Side | Componet | -->Member | Substrate | Condition | -->Cause | Color
| 369 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-13 | 13:10 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Calibration | C | Room | Wall | Wood | Intact |  | Brown
| 370 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-13 | 13:11 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Calibration | C | Room | Wall | Wood | Intact |  | Brown
| 371 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-13 | 13:11 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Calibration | C | Room | Wall | Wood | Intact |  | Brown
| 372 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 13:50 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Bedroom 1 | A | Window | Sash | Wood | Intact |  | White
| 373 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 13:50 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Bedroom 1 | A | Window | Sill | Wood | Intact |  | White
| 374 | -0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 13:50 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Bedroom 1 | C | Door |  | Wood | Intact |  | White
| 375 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 13:51 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Bedroom 1 | C | Door | Casing | Wood | Intact |  | White
| 376 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 13:51 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Bedroom 1 | C | Room | Baseboard | Wood | Intact |  | White
| 377 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 13:51 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Bedroom 1 | C | Room | Wall | Drywall | Intact |  | White
| 378 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 13:52 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Bedroom 2 | C | Room | Wall | Drywall | Intact |  | White
| 379 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 13:53 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Bedroom 2 | B | Window | Sash | Wood | Intact |  | White
| 380 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 13:53 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Bedroom 2 | B | Window | Sill | Wood | Intact |  | White
| 381 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 13:53 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Bedroom 2 | C | Door |  | Wood | Intact |  | White
| 382 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 13:54 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Bedroom 2 | C | Door | Frame | Wood | Intact |  | White
| 383 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 13:54 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Bedroom 3 | A | Door | Frame | Wood | Intact |  | White
| 384 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 13:54 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Bedroom 3 | A | Door | --- | Wood | Intact |  | White
| 385 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 13:55 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Bedroom 3 | B | Room | Baseboard | Wood | Intact |  | White
| 386 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 13:55 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Bedroom 3 | B | Room | Wall | Drywall | Intact |  | White
| 387 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 13:55 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Bedroom 3 | B | Window | Sash | Wood | Intact |  | White
| 388 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 13:56 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Bedroom 3 | B | Window | Frame | Wood | Intact |  | White
| 389 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 13:56 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Bedroom 3 | B | Room | Floor | Concrete | Intact |  | Clear Coat
| 390 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 13:56 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Bedroom 3 | B | Room | Ceiling | Drywall | Intact |  | White
| 391 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 13:57 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Bathroom | B | Tub |  | Vinyl | Intact |  | White
| 392 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 13:57 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Bathroom | B | Room | Floor | Wood | Intact |  | Brown
| 393 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 13:58 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Bathroom | A | Room | Wall | Drywall | Intact |  | Yellow
| 394 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 13:58 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Bathroom | A | Room | Baseboard | Wood | Intact |  | White
| 395 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 13:58 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Bathroom | A | Door |  | Wood | Intact |  | White
| 396 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 13:59 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Bathroom | A | Door | Casing | Wood | Intact |  | White
| 397 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 13:59 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Kitchen | C | Window | Sash | Wood | Intact |  | White
| 398 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 14:00 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Kitchen | C | Window | Frame | Wood | Intact |  | White
| 399 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 14:00 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Kitchen | C | Cabinets |  | Wood | Intact |  | White
| 400 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 14:00 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Kitchen | C | Railing |  | Wood | Intact |  | White
| 401 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 14:01 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Kitchen | C | Room | Baseboard | Wood | Intact |  | Clear Coat
| 402 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 14:01 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Kitchen | C | Room | Crown Molding | Wood | Intact |  | White
| 403 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 14:01 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Kitchen | C | Room | Wall | Drywall | Intact |  | White
| 404 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 14:02 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Living Room | C | Room | Floor | Wood | Intact |  | Clear Coat
| 405 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 14:02 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Living Room | A | Window | Sash | Wood | Intact |  | White
| 406 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 14:03 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Living Room | A | Window | Frame | Wood | Intact |  | White
| 407 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 14:03 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Living Room | A | Door | --- | Wood | Intact |  | White
| 408 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 14:03 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Apartment / Residential | Living Room | A | Door | Frame | Wood | Intact |  | White
| 409 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 14:08 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Exterior | House | A | Porch | Floor | Wood | Intact |  | Grey
| 410 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 14:08 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Exterior | House | A | Porch | Railing | Wood | Intact |  | Clear Coat
| 411 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 14:09 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Exterior | House | A | Door |  | Wood | Intact |  | Brown
| 412 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 14:09 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Exterior | House | A | Door | Frame | Wood | Intact |  | White
| 413 | 2.9 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 14:10 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Exterior | House | A | Window | Sash | Wood | Intact |  | White
| 414 | 1.5 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 14:11 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Exterior | House | A | Window | Sill | Wood | Intact |  | White
| 415 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 14:11 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Exterior | House | A | Window | Shutter | Wood | Intact |  | Black
| 416 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 14:11 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Exterior | House | A | Door |  | Wood | Intact |  | Black
| 417 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 14:12 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Exterior | House | A | Room | Wall | Wood | Intact |  | Yellow
| 418 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 14:13 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Exterior | House | A | Room | Wall | Brick | Intact |  | Clear Coat
| 419 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 14:13 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Exterior | House | B | Room | Wall | Brick | Intact |  | Clear Coat
| 420 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 14:13 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Exterior | House | C | Room | Wall | Brick | Intact |  | Clear Coat
| 421 | 0.6 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 14:14 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Exterior | House | B | Window | Sash | Wood | Intact |  | Pink
| 422 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 14:14 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Exterior | House | B | Window | Frame | Wood | Intact |  | Pink
| 423 | 0.6 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 14:15 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Exterior | House | C | Window | Frame | Wood | Intact |  | Pink
| 424 | 0.8 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-13 | 14:15 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Exterior | House | C | Window | Sash | Wood | Intact |  | Pink
| 425 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 14:15 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Exterior | House | D | Window | Sash | Wood | Intact |  | Pink
| 426 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 14:16 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Exterior | House | D | Window | Frame | Wood | Intact |  | Pink
| 427 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-13 | 14:16 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Exterior | House | D | Room | Wall | Brick | Intact |  | Clear Coat
| 428 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-13 | 14:17 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Exterior | Calibration | D | Room | Wall | Brick | Intact |  | Clear Coat
| 429 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-13 | 14:17 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Exterior | Calibration | D | Room | Wall | Brick | Intact |  | Clear Coat
| 430 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-13 | 14:17 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 514 Shepperd St | Exterior | Calibration | D | Room | Wall | Brick | Intact |  | Clear Coat