## Sheet1
Job Id | Reading # | Concentration | Units | 3 SD | Result | Calibration Reading | Action Level | RTA Present | Read Through | NomSecs | Date | Time | User | Mode | Analytic Mode | Latitude | Longitude | Accuracy | Job | Location | Room | Side | Componet | -->Member | Substrate | Condition | -->Cause | Color
| 1 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-09 | 9:21 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Exterior | Calibration | A | Porch | Floor | Wood | Deteriorated |  | Grey
| 2 | 0.9 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-09 | 9:21 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Exterior | Calibration | A | Porch | Floor | Wood | Deteriorated |  | Grey
| 3 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-09 | 9:21 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Exterior | Calibration | A | Porch | Floor | Wood | Deteriorated |  | Grey
| 4 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:23 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Exterior | House | A | Porch | Floor | Wood | Deteriorated |  | White
| 5 | -0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:23 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Exterior | House | A | Porch | Railing | Wood | Intact |  | White
| 6 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:24 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Exterior | House | A | Porch | Column | Wood | Intact |  | White
| 7 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:24 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Exterior | House | A | Porch | Ceiling | Wood | Intact |  | White
| 8 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:25 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Exterior | House | A | Soffit |  | Vinyl | Intact |  | White
| 9 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:25 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Exterior | House | A | Fascia |  | Vinyl | Intact |  | White
| 10 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:25 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Exterior | House | A | Room | Wall | Vinyl | Intact |  | White
| 11 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:26 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Exterior | House | A | Window | Sash | Vinyl | Intact |  | White
| 12 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:26 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Exterior | House | A | Window | Frame | Vinyl | Intact |  | White
| 13 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:26 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Exterior | House | B | Window | Frame | Vinyl | Intact |  | White
| 14 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:27 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Exterior | House | B | Window | Sash | Vinyl | Intact |  | White
| 15 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:27 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Exterior | House | B | Room | Wall | Vinyl | Intact |  | White
| 16 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:27 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Exterior | House | C | Room | Wall | Vinyl | Intact |  | White
| 17 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:28 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Exterior | House | C | Porch | Ceiling | Concrete | Intact |  | Clear Coat
| 18 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:28 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Exterior | House | C | Porch | Railing | Wood | Intact |  | White
| 19 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:29 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Exterior | House | C | Column |  | Wood | Intact |  | Clear Coat
| 20 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:29 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Exterior | House | C | Door | --- | Wood | Intact |  | Red
| 21 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:30 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Exterior | House | C | Door | Casing | Vinyl | Intact |  | White
| 22 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:30 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Exterior | House | C | Window | Sash | Vinyl | Intact |  | White
| 23 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:30 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Exterior | House | C | Window | Frame | Vinyl | Intact |  | White
| 24 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:31 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Exterior | House | C | Room | Wall | Vinyl | Intact |  | White
| 25 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:32 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Family Room | A | Door | --- | Wood | Intact |  | Red
| 26 | -0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:32 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Family Room | A | Door | Frame | Wood | Intact |  | White
| 27 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:33 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Family Room | A | Window | Sash | Vinyl | Intact |  | White
| 28 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:33 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Family Room | A | Window | Sill | Wood | Intact |  | White
| 29 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:34 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Family Room | A | Room | Wall | Drywall | Intact |  | White
| 30 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:34 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Family Room | A | Room | Baseboard | Wood | Intact |  | White
| 31 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:35 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Family Room | A | Room | Baseboard | Wood | Intact |  | Clear Coat
| 32 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:35 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Family Room | A | Room | Floor | Vinyl | Intact |  | Brown
| 33 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:35 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Family Room | A | Room | Ceiling | Drywall | Intact |  | White
| 34 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:36 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Living Room | A | Room | Wall | Drywall | Intact |  | White
| 35 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:36 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Living Room | A | Window | Sash | Vinyl | Intact |  | White
| 36 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:37 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Living Room | A | Window | Sill | Wood | Intact |  | White
| 37 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:37 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Kitchen | A | Window | Sill | Wood | Intact |  | White
| 38 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:37 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Kitchen | A | Window | Sash | Vinyl | Intact |  | White
| 39 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:38 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Kitchen | A | Room | Floor | Vinyl | Intact |  | White
| 40 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:39 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Kitchen | A | Room | Baseboard | Wood | Intact |  | White
| 41 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:39 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Laundry Room | A | Room | Baseboard | Wood | Intact |  | White
| 42 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:40 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Laundry Room | A | Room | Crown Molding | Wood | Intact |  | White
| 43 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:40 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Laundry Room | A | Door | --- | Wood | Intact |  | White
| 44 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:40 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Laundry Room | A | Door | Frame | Wood | Intact |  | White
| 45 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:41 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Laundry Room | A | Room | Wall | Drywall | Intact |  | White
| 46 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:41 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Bathroom | A | Room | Wall | Vinyl | Intact |  | White
| 47 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:42 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Bathroom | A | Door | --- | Wood | Intact |  | White
| 48 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:42 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Bathroom | A | Door | Frame | Wood | Intact |  | White
| 49 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:42 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Bathroom | A | Room | Crown Molding | Wood | Intact |  | White
| 50 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:43 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Bathroom | A | Tub |  | Vinyl | Intact |  | White
| 51 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:43 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Bedroom 1 | C | Room | Wall | Drywall | Intact |  | White
| 52 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:44 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Bedroom 1 | C | Room | Floor | Wood | Intact |  | Clear Coat
| 53 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:44 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Bedroom 1 | C | Window | Sash | Vinyl | Intact |  | White
| 54 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:45 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Bedroom 1 | C | Window | Frame | Wood | Intact |  | White
| 55 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:45 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Bedroom 1 | A | Door | --- | Wood | Intact |  | White
| 56 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-09 | 9:45 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Bedroom 1 | A | Door | Casing | Wood | Intact |  | White
| 57 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-09 | 9:46 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Calibration | A | Door | Casing | Wood | Intact |  | White
| 58 | 1.1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-09 | 9:46 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Calibration | A | Door | Casing | Wood | Intact |  | White
| 59 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-09 | 9:47 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 1166 New Rd | Apartment / Residential | Calibration | A | Door | Casing | Wood | Intact |  | White