## readings
Reading # | Job | Room | Side | Component | Substrate | Condition | Color | Result | PbC | Units
1 | 1101 N. Fayetteville Ave. | Calibration | [5 empty] | Positive | 1 | mg/cm2
2 | 1101 N. Fayetteville Ave. | Calibration | [5 empty] | Negative | 0.9 | mg/cm2
3 | 1101 N. Fayetteville Ave. | Calibration | [5 empty] | Positive | 1 | mg/cm2
4 | 1101 N. Fayetteville Ave. | Living Room | A | Door | Wood | Intact | White | Negative | 0.1 | mg/cm2
5 | 1101 N. Fayetteville Ave. | Living Room | A | Door Jamb | Wood | Deteriorated | White | Negative | -0.1 | mg/cm2
6 | 1101 N. Fayetteville Ave. | Living Room | A | Door Frame | Wood | Deteriorated | White | Negative | 0 | mg/cm2
7 | 1101 N. Fayetteville Ave. | Living Room | A | Wall | Drywall | Intact | White | Negative | 0.1 | mg/cm2
8 | 1101 N. Fayetteville Ave. | Living Room | A | Ceiling | Drywall | Intact | White | Negative | 0.1 | mg/cm2
9 | 1101 N. Fayetteville Ave. | Living Room | A | Window Frame | Wood | Intact | White | Negative | -0.1 | mg/cm2
10 | 1101 N. Fayetteville Ave. | Living Room | A | Window Sill | Wood | Intact | White | Negative | -0.1 | mg/cm2
11 | 1101 N. Fayetteville Ave. | Living Room | A | Window Sash | Vinyl | Intact | White | Negative | -0.1 | mg/cm2
12 | 1101 N. Fayetteville Ave. | Kitchen | B | Window Sash | Vinyl | Intact | White | Negative | 0.2 | mg/cm2
13 | 1101 N. Fayetteville Ave. | Kitchen | B | Window Frame | Wood | Intact | White | Negative | 0 | mg/cm2
14 | 1101 N. Fayetteville Ave. | Kitchen | B | Window Sill | Wood | Intact | White | Negative | 0.1 | mg/cm2
15 | 1101 N. Fayetteville Ave. | Kitchen | B | Ceiling | Drywall | Intact | White | Negative | 0.1 | mg/cm2
16 | 1101 N. Fayetteville Ave. | Kitchen | A | Wall | Drywall | Intact | White | Negative | 0.1 | mg/cm2
17 | 1101 N. Fayetteville Ave. | Kitchen | A | Crown Molding | Wood | Intact | White | Negative | 0.2 | mg/cm2
18 | 1101 N. Fayetteville Ave. | Kitchen | B | Door | Wood | Intact | White | Negative | 0.1 | mg/cm2
19 | 1101 N. Fayetteville Ave. | Kitchen | B | Door Jamb | Wood | Intact | White | Negative | 0 | mg/cm2
20 | 1101 N. Fayetteville Ave. | Kitchen | B | Door Frame | Wood | Intact | White | Negative | -0.1 | mg/cm2
21 | 1101 N. Fayetteville Ave. | Kitchen | B | Floor | Wood | Intact | Brown | Negative | 0 | mg/cm2
22 | 1101 N. Fayetteville Ave. | Kitchen | C | Baseboard | Wood | Intact | White | Negative | 0 | mg/cm2
23 | 1101 N. Fayetteville Ave. | Bedroom 1 | D | Wall | Drywall | Intact | White | Negative | 0.1 | mg/cm2
24 | 1101 N. Fayetteville Ave. | Bedroom 1 | D | Door | Wood | Intact | White | Negative | 0.1 | mg/cm2
25 | 1101 N. Fayetteville Ave. | Bedroom 1 | D | Door Jamb | Wood | Intact | White | Negative | 0.1 | mg/cm2
26 | 1101 N. Fayetteville Ave. | Bedroom 1 | D | Door Frame | Wood | Intact | White | Negative | 0 | mg/cm2
27 | 1101 N. Fayetteville Ave. | Bedroom 1 | C | Window Frame | Wood | Intact | White | Negative | 0.1 | mg/cm2
28 | 1101 N. Fayetteville Ave. | Bedroom 1 | C | Window Sill | Wood | Intact | White | Negative | 0.2 | mg/cm2
29 | 1101 N. Fayetteville Ave. | Bedroom 1 | C | Window Sash | Wood | Intact | White | Negative | 0 | mg/cm2
30 | 1101 N. Fayetteville Ave. | Bathroom 1 | C | Floor | Ceramic | Intact | White | Negative | 0.1 | mg/cm2
31 | 1101 N. Fayetteville Ave. | Bathroom 1 | C | Tub | Ceramic | Intact | White | Negative | 0.1 | mg/cm2
32 | 1101 N. Fayetteville Ave. | Bathroom 1 | D | Wall | Drywall | Intact | Tan | Negative | 0 | mg/cm2
33 | 1101 N. Fayetteville Ave. | Bathroom 1 | B | Cabinets | Drywall | Intact | Tan | Negative | 0.2 | mg/cm2
34 | 1101 N. Fayetteville Ave. | Bathroom 1 | A | Door | Wood | Intact | White | Negative | 0.1 | mg/cm2
35 | 1101 N. Fayetteville Ave. | Bathroom 1 | A | Door Jamb | Wood | Intact | White | Negative | -0.1 | mg/cm2
36 | 1101 N. Fayetteville Ave. | Bathroom 1 | A | Door Frame | Wood | Deteriorated | White | Negative | 0.1 | mg/cm2
37 | 1101 N. Fayetteville Ave. | Bedroom 2 | B | Door Frame | Wood | Deteriorated | White | Negative | 0 | mg/cm2
38 | 1101 N. Fayetteville Ave. | Bedroom 2 | B | Door Jamb | Wood | Deteriorated | White | Negative | 0 | mg/cm2
39 | 1101 N. Fayetteville Ave. | Bedroom 2 | B | Door | Wood | Deteriorated | White | Negative | -0.1 | mg/cm2
40 | 1101 N. Fayetteville Ave. | Bedroom 2 | C | Window Frame | Wood | Intact | White | Negative | -0.1 | mg/cm2
41 | 1101 N. Fayetteville Ave. | Bedroom 2 | C | Window Sash | Wood | Intact | White | Negative | 0 | mg/cm2
42 | 1101 N. Fayetteville Ave. | Bedroom 2 | C | Window Sill | Wood | Intact | White | Negative | -0.2 | mg/cm2
43 | 1101 N. Fayetteville Ave. | Bedroom 2 | B | Wall | Drywall | Intact | White | Negative | 0.1 | mg/cm2
44 | 1101 N. Fayetteville Ave. | Bedroom 3 | B | Wall | Drywall | Intact | White | Negative | 0.1 | mg/cm2
45 | 1101 N. Fayetteville Ave. | Bedroom 3 | B | Door | Wood | Intact | White | Negative | 0 | mg/cm2
46 | 1101 N. Fayetteville Ave. | Bedroom 3 | B | Door Jamb | Wood | Intact | White | Negative | 0 | mg/cm2
47 | 1101 N. Fayetteville Ave. | Bedroom 3 | B | Door Frame | Wood | Intact | White | Negative | 0 | mg/cm2
48 | 1101 N. Fayetteville Ave. | Bedroom 3 | D | Window Frame | Wood | Intact | White | Negative | 0 | mg/cm2
49 | 1101 N. Fayetteville Ave. | Bedroom 3 | D | Window Sill | Wood | Intact | White | Negative | 0 | mg/cm2
50 | 1101 N. Fayetteville Ave. | Bedroom 3 | D | Window Sash | Wood | Intact | White | Negative | 0 | mg/cm2
51 | 1101 N. Fayetteville Ave. | Bedroom 4 | D | Window Sash | Wood | Intact | White | Negative | 0.1 | mg/cm2
52 | 1101 N. Fayetteville Ave. | Bedroom 4 | D | Window Sill | Wood | Intact | White | Negative | 0.1 | mg/cm2
53 | 1101 N. Fayetteville Ave. | Bedroom 4 | D | Window Frame | Wood | Intact | White | Negative | 0 | mg/cm2
54 | 1101 N. Fayetteville Ave. | Bedroom 4 | A | Wall | Wood | Intact | Tan | Negative | 0.1 | mg/cm2
55 | 1101 N. Fayetteville Ave. | Bedroom 4 | B | Door | Wood | Deteriorated | White | Negative | 0 | mg/cm2
56 | 1101 N. Fayetteville Ave. | Bedroom 4 | B | Door Jamb | Wood | Deteriorated | White | Negative | 0 | mg/cm2
57 | 1101 N. Fayetteville Ave. | Bedroom 4 | B | Door Frame | Wood | Deteriorated | White | Negative | -0.1 | mg/cm2
58 | 1101 N. Fayetteville Ave. | Exterior | A | Door Frame | Wood | Intact | White | Negative | 0 | mg/cm2
59 | 1101 N. Fayetteville Ave. | Exterior | A | Door | Wood | Intact | White | Negative | -0.1 | mg/cm2
60 | 1101 N. Fayetteville Ave. | Exterior | A | Column | Wood | Deteriorated | White | Negative | 0.1 | mg/cm2
61 | 1101 N. Fayetteville Ave. | Exterior | A | Ceiling | Wood | Intact | White | Negative | 0 | mg/cm2
62 | 1101 N. Fayetteville Ave. | Exterior | A | Soffit | Wood | Deteriorated | White | Negative | 0 | mg/cm2
63 | 1101 N. Fayetteville Ave. | Exterior | A | Fascia | Wood | Deteriorated | White | Negative | 0 | mg/cm2
64 | 1101 N. Fayetteville Ave. | Exterior | A | Window Frame | Wood | Deteriorated | White | Negative | 0 | mg/cm2
65 | 1101 N. Fayetteville Ave. | Exterior | A | Window Sill | Wood | Deteriorated | White | Negative | 0.1 | mg/cm2
66 | 1101 N. Fayetteville Ave. | Exterior | A | Wall | Drywall | Deteriorated | White | Negative | 0.4 | mg/cm2
67 | 1101 N. Fayetteville Ave. | Exterior | B | Wall | Drywall | Deteriorated | White | Negative | 0.3 | mg/cm2
68 | 1101 N. Fayetteville Ave. | Exterior | B | Window Sill | Wood | Deteriorated | White | Negative | 0.2 | mg/cm2
69 | 1101 N. Fayetteville Ave. | Exterior | B | Window Frame | Wood | Deteriorated | White | Negative | 0 | mg/cm2
70 | 1101 N. Fayetteville Ave. | Exterior | B | Door | Wood | Deteriorated | White | Negative | 0.1 | mg/cm2
71 | 1101 N. Fayetteville Ave. | Exterior | B | Door Jamb | Wood | Deteriorated | White | Negative | 0 | mg/cm2
72 | 1101 N. Fayetteville Ave. | Exterior | B | Door Frame | Wood | Deteriorated | White | Negative | 0 | mg/cm2
73 | 1101 N. Fayetteville Ave. | Exterior | C | Window Sill | Wood | Deteriorated | White | Negative | -0.1 | mg/cm2
74 | 1101 N. Fayetteville Ave. | Exterior | C | Window Frame | Wood | Deteriorated | White | Negative | 0 | mg/cm2
75 | 1101 N. Fayetteville Ave. | Exterior | C | Wall | Wood | Intact | White | Negative | 0.1 | mg/cm2
76 | 1101 N. Fayetteville Ave. | Exterior | D | Wall | Wood | Intact | White | Negative | 0.2 | mg/cm2
77 | 1101 N. Fayetteville Ave. | Exterior | D | Window Sill | Wood | Intact | White | Negative | 0.2 | mg/cm2
78 | 1101 N. Fayetteville Ave. | Exterior | D | Window Frame | Wood | Intact | White | Negative | 0 | mg/cm2
79 | 1101 N. Fayetteville Ave. | Calibration | [5 empty] | Negative | 0.9 | mg/cm2
80 | 1101 N. Fayetteville Ave. | Calibration | [5 empty] | Positive | 1 | mg/cm2
81 | 1101 N. Fayetteville Ave. | Calibration | [5 empty] | Negative | 0.9 | mg/cm2
82 | 1101 N. Fayetteville Ave. | Calibration | [5 empty] | Positive | 1.1 | mg/cm2
83 | 390 Leanna Lane | Calibration | [5 empty] | Negative | 0.9 | mg/cm2
84 | 390 Leanna Lane | Calibration | [5 empty] | Positive | 1 | mg/cm2
85 | 390 Leanna Lane | Calibration | [5 empty] | Negative | 0.9 | mg/cm2
86 | 390 Leanna Lane | Kitchen | D | Window Frame | Wood | Intact | Brown | Negative | 0.1 | mg/cm2
87 | 390 Leanna Lane | Kitchen | D | Window Sill | Wood | Intact | Brown | Negative | 0 | mg/cm2
88 | 390 Leanna Lane | Kitchen | D | Window Sash | Metal | Intact | Brown | Negative | 0.5 | mg/cm2
89 | 390 Leanna Lane | Kitchen | C | Cabinets | Wood | Intact | Brown | Negative | 0.1 | mg/cm2
90 | 390 Leanna Lane | Kitchen | C | Wall | Wood | Intact | Brown | Negative | 0.2 | mg/cm2
91 | 390 Leanna Lane | Kitchen | C | Door | Wood | Intact | Tan | Negative | 0.1 | mg/cm2
92 | 390 Leanna Lane | Kitchen | C | Door Jamb | Wood | Deteriorated | Tan | Negative | 0.1 | mg/cm2
93 | 390 Leanna Lane | Kitchen | C | Door Jamb | Wood | Deteriorated | White | Negative | 0.4 | mg/cm2
94 | 390 Leanna Lane | Kitchen | C | Crown Molding | Wood | Intact | White | Negative | -0.1 | mg/cm2
95 | 390 Leanna Lane | Hallway | C | Wall | Drywall | Intact | Green | Negative | -0.1 | mg/cm2
96 | 390 Leanna Lane | Hallway | A | Wall | Drywall | Intact | Green | Negative | -0.3 | mg/cm2
97 | 390 Leanna Lane | Bedroom 1 | A | Wall | Drywall | Intact | Pink | Negative | -0.1 | mg/cm2
98 | 390 Leanna Lane | Bedroom 1 | A | Door | Wood | Intact | Brown | Negative | 0.1 | mg/cm2
99 | 390 Leanna Lane | Bedroom 1 | A | Door Jamb | Wood | Intact | Green | Negative | 0.5 | mg/cm2
100 | 390 Leanna Lane | Bedroom 1 | A | Door Frame | Wood | Intact | Pink | Negative | 0.3 | mg/cm2
101 | 390 Leanna Lane | Bedroom 1 | A | Floor | Wood | Intact | Brown | Negative | -0.1 | mg/cm2
102 | 390 Leanna Lane | Bedroom 1 | C | Window Sill | Wood | Intact | Brown | Negative | -0.1 | mg/cm2
103 | 390 Leanna Lane | Bathroom 1 | C | Window Sill | Drywall | Intact | Purple | Negative | -0.1 | mg/cm2
104 | 390 Leanna Lane | Bathroom 1 | C | Wall | Drywall | Deteriorated | Purple | Negative | 0 | mg/cm2
105 | 390 Leanna Lane | Bathroom 1 | D | Tub | Ceramic | Intact | White | Positive | 18.1 | mg/cm2
106 | 390 Leanna Lane | Bathroom 1 | C | Wall | Ceramic | Intact | White | Positive | 1.1 | mg/cm2
107 | 390 Leanna Lane | Bathroom 1 | A | Door Jamb | Wood | Deteriorated | Green | Negative | 0.2 | mg/cm2
108 | 390 Leanna Lane | Bathroom 1 | A | Door Frame | Wood | Deteriorated | Purple | Negative | 0.5 | mg/cm2
109 | 390 Leanna Lane | Bedroom 2 | B | Door Frame | Wood | Intact | Purple | Positive | 1 | mg/cm2
110 | 390 Leanna Lane | Bedroom 2 | B | Door Jamb | Wood | Intact | Green | Negative | 0.6 | mg/cm2
111 | 390 Leanna Lane | Bedroom 2 | B | Wall | Drywall | Intact | Purple | Negative | 0 | mg/cm2
112 | 390 Leanna Lane | Bedroom 2 | C | Window Sill | Drywall | Deteriorated | Purple | Negative | -0.1 | mg/cm2
113 | 390 Leanna Lane | Bedroom 2 | C | Window Sash | Metal | Deteriorated | White | Negative | 0.3 | mg/cm2
114 | 390 Leanna Lane | Bedroom 3 | A | Window Sash | Metal | Deteriorated | Brown | Negative | 0.3 | mg/cm2
115 | 390 Leanna Lane | Bedroom 3 | B | Wall | Wood | Deteriorated | Brown | Negative | 0.3 | mg/cm2
116 | 390 Leanna Lane | Bedroom 3 | B | Door Frame | Wood | Intact | White | Negative | 0.7 | mg/cm2
117 | 390 Leanna Lane | Bedroom 3 | B | Door Jamb | Wood | Deteriorated | Green | Negative | 0.7 | mg/cm2
118 | 390 Leanna Lane | Living Room | A | Door | Wood | Intact | White | Negative | 0 | mg/cm2
119 | 390 Leanna Lane | Living Room | A | Wall | Wood | Intact | Brown | Negative | -0.1 | mg/cm2
120 | 390 Leanna Lane | Living Room | A | Window Sash | Metal | Deteriorated | White | Negative | 0.2 | mg/cm2
121 | 390 Leanna Lane | Den | A | Window Sash | Metal | Deteriorated | White | Negative | 0.4 | mg/cm2
122 | 390 Leanna Lane | Den | A | Window Sill | Drywall | Deteriorated | Green | Negative | 0.1 | mg/cm2
123 | 390 Leanna Lane | Den | A | Wall | Drywall | Deteriorated | Green | Negative | -0.1 | mg/cm2
124 | 390 Leanna Lane | Den | C | Baseboard | Wood | Deteriorated | Green | Negative | 0.4 | mg/cm2
125 | 390 Leanna Lane | Den | C | Door Jamb | Wood | Deteriorated | Green | Positive | 1.4 | mg/cm2
126 | 390 Leanna Lane | Den | C | Door Frame | Wood | Deteriorated | Green | Positive | 1.1 | mg/cm2
127 | 390 Leanna Lane | Exterior | A | Ceiling | Vinyl | Intact | White | Negative | 0 | mg/cm2
128 | 390 Leanna Lane | Exterior | A | Soffit | Vinyl | Intact | White | Negative | 0.6 | mg/cm2
129 | 390 Leanna Lane | Exterior | A | Fascia | Vinyl | Intact | White | Negative | 0.2 | mg/cm2
130 | 390 Leanna Lane | Exterior | A | Door Frame | Wood | Intact | Blue | Negative | 0.2 | mg/cm2
131 | 390 Leanna Lane | Exterior | A | Door | Wood | Intact | White | Negative | 0.3 | mg/cm2
132 | 390 Leanna Lane | Exterior | A | Wall | Concrete | Intact | Blue | Negative | 0 | mg/cm2
133 | 390 Leanna Lane | Exterior | A | Window Sill | Concrete | Deteriorated | Blue | Negative | 0.1 | mg/cm2
134 | 390 Leanna Lane | Exterior | A | Column | Concrete | Deteriorated | Blue | Negative | -0.1 | mg/cm2
135 | 390 Leanna Lane | Exterior | A | Window Sash | Metal | Deteriorated | White | Negative | 0.9 | mg/cm2
136 | 390 Leanna Lane | Exterior | A | Window Sash | Metal | Deteriorated | White | Positive | 1 | mg/cm2
137 | 390 Leanna Lane | Exterior | B | Window Sash | Metal | Deteriorated | White | Negative | 0.8 | mg/cm2
138 | 390 Leanna Lane | Exterior | B | Window Sash | Metal | Deteriorated | White | Negative | 0.2 | mg/cm2
139 | 390 Leanna Lane | Exterior | B | Window Sill | Concrete | Deteriorated | Blue | Negative | 0.7 | mg/cm2
140 | 390 Leanna Lane | Exterior | B | Wall | Concrete | Deteriorated | Blue | Negative | 0.5 | mg/cm2
141 | 390 Leanna Lane | Exterior | C | Wall | Concrete | Deteriorated | Blue | Negative | 0.4 | mg/cm2
142 | 390 Leanna Lane | Exterior | C | Door | Wood | Intact | Black | Negative | -0.1 | mg/cm2
143 | 390 Leanna Lane | Exterior | C | Window Sash | Metal | Deteriorated | White | Negative | 0.6 | mg/cm2
144 | 390 Leanna Lane | Exterior | D | Window Sash | Metal | Deteriorated | White | Negative | 0.4 | mg/cm2
145 | 390 Leanna Lane | Exterior | D | Wall | Concrete | Deteriorated | Blue | Negative | -0.2 | mg/cm2
146 | 390 Leanna Lane | Exterior | D | Window Sill | Concrete | Deteriorated | Blue | Negative | 0.2 | mg/cm2
147 | 390 Leanna Lane | Exterior | C | Window Sill | Concrete | Deteriorated | Blue | Negative | -0.1 | mg/cm2
148 | 390 Leanna Lane | Calibration | [5 empty] | Negative | 0.9 | mg/cm2
149 | 390 Leanna Lane | Calibration | [5 empty] | Positive | 1 | mg/cm2
150 | 390 Leanna Lane | Calibration | [5 empty] | Positive | 1 | mg/cm2
151 | 1730 Easterling Dr. | Calibration | [5 empty] | Negative | 0.9 | mg/cm2
152 | 1730 Easterling Dr. | Calibration | [5 empty] | Negative | 0.9 | mg/cm2
153 | 1730 Easterling Dr. | Calibration | [5 empty] | Negative | 0.9 | mg/cm2
154 | 1730 Easterling Dr. | Exterior | A | Column | Metal | Deteriorated | White | Negative | 0.3 | mg/cm2
155 | 1730 Easterling Dr. | Exterior | A | Soffit | Vinyl | Intact | White | Negative | 0.2 | mg/cm2
156 | 1730 Easterling Dr. | Exterior | A | Fascia | Vinyl | Intact | White | Negative | 0.7 | mg/cm2
157 | 1730 Easterling Dr. | Exterior | A | Ceiling | Vinyl | Intact | White | Negative | 0.4 | mg/cm2
158 | 1730 Easterling Dr. | Exterior | A | Door Frame | Vinyl | Intact | White | Negative | 0.7 | mg/cm2
159 | 1730 Easterling Dr. | Exterior | A | Door | Wood | Intact | White | Negative | 0.5 | mg/cm2
160 | 1730 Easterling Dr. | Exterior | A | Door Jamb | Wood | Intact | White | Negative | 0.7 | mg/cm2
161 | 1730 Easterling Dr. | Exterior | A | Window Sash | Vinyl | Intact | White | Negative | 0.1 | mg/cm2
162 | 1730 Easterling Dr. | Exterior | A | Window Sill | Wood | Intact | White | Negative | 0.2 | mg/cm2
163 | 1730 Easterling Dr. | Exterior | A | Wall | Brick | Intact | Tan | Negative | 0.2 | mg/cm2
164 | 1730 Easterling Dr. | Exterior | B | Wall | Brick | Intact | Tan | Negative | 0.8 | mg/cm2
165 | 1730 Easterling Dr. | Exterior | B | Wall | Brick | Intact | Tan | Negative | -0.1 | mg/cm2
166 | 1730 Easterling Dr. | Exterior | B | Door Jamb | Wood | Deteriorated | White | Negative | 0.4 | mg/cm2
167 | 1730 Easterling Dr. | Exterior | B | Door | Wood | Deteriorated | White | Negative | 0.4 | mg/cm2
168 | 1730 Easterling Dr. | Exterior | B | Door Frame | Vinyl | Intact | White | Negative | 0.9 | mg/cm2
169 | 1730 Easterling Dr. | Exterior | B | Door Frame | Vinyl | Intact | White | Negative | 0.6 | mg/cm2
170 | 1730 Easterling Dr. | Exterior | B | Column | Metal | Intact | Grey | Negative | 0.3 | mg/cm2
171 | 1730 Easterling Dr. | Exterior | B | Door | Wood | Deteriorated | Brown | Negative | 0.1 | mg/cm2
172 | 1730 Easterling Dr. | Exterior | B | Door Jamb | Metal | Deteriorated | Brown | Negative | 0 | mg/cm2
173 | 1730 Easterling Dr. | Exterior | B | Door Frame | Metal | Deteriorated | Brown | Negative | 0.2 | mg/cm2
174 | 1730 Easterling Dr. | Exterior | B | Wall | Concrete | Deteriorated | Red | Negative | 0.2 | mg/cm2
175 | 1730 Easterling Dr. | Exterior | C | Wall | Concrete | Deteriorated | Red | Negative | 0.1 | mg/cm2
176 | 1730 Easterling Dr. | Exterior | C | Door | Metal | Deteriorated | Brown | Negative | 0 | mg/cm2
177 | 1730 Easterling Dr. | Exterior | C | Door Jamb | Metal | Deteriorated | Brown | Negative | 0.1 | mg/cm2
178 | 1730 Easterling Dr. | Exterior | C | Door Frame | Metal | Deteriorated | Brown | Negative | 0 | mg/cm2
179 | 1730 Easterling Dr. | Exterior | C | Door Frame | Vinyl | Intact | White | Negative | 0.8 | mg/cm2
180 | 1730 Easterling Dr. | Exterior | C | Door Frame | Vinyl | Intact | White | Negative | 0.7 | mg/cm2
181 | 1730 Easterling Dr. | Exterior | C | Window Frame | Vinyl | Intact | White | Negative | 0.1 | mg/cm2
182 | 1730 Easterling Dr. | Exterior | D | Window Frame | Vinyl | Intact | White | Negative | 0 | mg/cm2
183 | 1730 Easterling Dr. | Exterior | D | Wall | Brick | Intact | Tan | Negative | 0 | mg/cm2
184 | 1730 Easterling Dr. | Exterior | A | Window Frame | Wood | Intact | White | Negative | 0.2 | mg/cm2
185 | 1730 Easterling Dr. | Living Room | A | Ceiling | Drywall | Intact | White | Negative | 0 | mg/cm2
186 | 1730 Easterling Dr. | Living Room | A | Floor | Wood | Intact | Brown | Negative | 0 | mg/cm2
187 | 1730 Easterling Dr. | Living Room | A | Window Sash | Wood | Intact | Brown | Negative | -0.2 | mg/cm2
188 | 1730 Easterling Dr. | Living Room | A | Door | Wood | Intact | Brown | Negative | 0.1 | mg/cm2
189 | 1730 Easterling Dr. | Living Room | C | Door | Wood | Intact | Brown | Negative | -0.1 | mg/cm2
190 | 1730 Easterling Dr. | Living Room | C | Wall | Wood | Intact | Brown | Negative | -0.1 | mg/cm2
191 | 1730 Easterling Dr. | Living Room | C | Window Sash | Wood | Intact | Brown | Negative | 0 | mg/cm2
192 | 1730 Easterling Dr. | Living Room | C | Window Sill | Wood | Intact | Brown | Negative | 0.1 | mg/cm2
193 | 1730 Easterling Dr. | Room 2 | C | Window Sill | Wood | Intact | Brown | Negative | 0.1 | mg/cm2
194 | 1730 Easterling Dr. | Room 2 | C | Window Frame | Wood | Intact | Brown | Negative | 0 | mg/cm2
195 | 1730 Easterling Dr. | Room 2 | C | Wall | Wood | Intact | Brown | Negative | -0.1 | mg/cm2
196 | 1730 Easterling Dr. | Room 2 | D | Window Sill | Wood | Intact | Brown | Negative | 0.1 | mg/cm2
197 | 1730 Easterling Dr. | Room 2 | D | Window Sash | Wood | Intact | Brown | Negative | 0 | mg/cm2
198 | 1730 Easterling Dr. | Room 2 | C | Window Frame | Wood | Intact | Brown | Negative | -0.1 | mg/cm2
199 | 1730 Easterling Dr. | Room 2 | C | Wall | Wood | Intact | Brown | Negative | 0 | mg/cm2
200 | 1730 Easterling Dr. | Room 2 | A | Wall | Wood | Intact | Brown | Negative | 0 | mg/cm2
201 | 1730 Easterling Dr. | Calibration | [5 empty] | Negative | 0.9 | mg/cm2
202 | 1730 Easterling Dr. | Calibration | [5 empty] | Negative | 0.9 | mg/cm2
203 | 1730 Easterling Dr. | Calibration | [5 empty] | Negative | 0.9 | mg/cm2
204 | 1711 cobb | Calibration | [5 empty] | Positive | 1 | mg/cm2
205 | 1711 cobb | Calibration | [5 empty] | Positive | 1 | mg/cm2
206 | 1711 cobb | Calibration | [5 empty] | Positive | 1 | mg/cm2
207 | 1711 cobb | House | A | Wall | Concrete | Intact | Brown | Negative | 0.1 | mg/cm2
208 | 1711 cobb | House | A | Window Sill | Wood | Intact | Tan | Negative | 0.2 | mg/cm2
209 | 1711 cobb | House | A | Window Frame | Wood | Intact | Tan | Negative | 0.4 | mg/cm2
210 | 1711 cobb | House | A | Window Sash | Wood | Intact | Tan | Positive | 1.5 | mg/cm2
211 | 1711 cobb | House | A | Window Shutter | Wood | Intact | Tan | Negative | 0.2 | mg/cm2
212 | 1711 cobb | House | A | Floor | Concrete | Intact | Grey | Negative | 0.4 | mg/cm2
213 | 1711 cobb | House | A | Column | Metal | Intact | Black | Negative | 0.1 | mg/cm2
214 | 1711 cobb | House | A | Ceiling | Wood | Intact | Tan | Positive | 1.6 | mg/cm2
215 | 1711 cobb | House | A | Soffit | Wood | Intact | Tan | Positive | 2.9 | mg/cm2
216 | 1711 cobb | House | A | Fascia | Wood | Intact | Tan | Positive | 2.1 | mg/cm2
217 | 1711 cobb | House | A | Door Frame | Wood | Intact | Tan | Negative | 0.2 | mg/cm2
218 | 1711 cobb | House | A | Door | Wood | Intact | Black | Negative | 0.4 | mg/cm2
219 | 1711 cobb | House | A | Wall | Concrete | Intact | Brown | Negative | 0.3 | mg/cm2
220 | 1711 cobb | House | A | Window Sash | Wood | Intact | Tan | Positive | 1.5 | mg/cm2
221 | 1711 cobb | House | A | Window Sill | Wood | Intact | Tan | Positive | 2.8 | mg/cm2
222 | 1711 cobb | House | A | Window Frame | Wood | Intact | Tan | Positive | 1.9 | mg/cm2
223 | 1711 cobb | House | A | Window Shutter | Wood | Intact | Tan | Positive | 2.7 | mg/cm2
224 | 1711 cobb | House | B | Door | Wood | Intact | Tan | Negative | 0.3 | mg/cm2
225 | 1711 cobb | House | B | Door Frame | Wood | Intact | Tan | Negative | 0.3 | mg/cm2
226 | 1711 cobb | House | B | Door Jamb | Wood | Intact | Tan | Negative | 0.2 | mg/cm2
227 | 1711 cobb | House | C | Door Frame | Wood | Intact | Tan | Negative | 0.1 | mg/cm2
228 | 1711 cobb | House | C | Window Sill | Wood | Intact | Tan | Negative | 0 | mg/cm2
229 | 1711 cobb | House | C | Window Frame | Wood | Intact | Tan | Negative | 0 | mg/cm2
230 | 1711 cobb | House | C | Window Sash | Wood | Intact | Tan | Negative | 0 | mg/cm2
231 | 1711 cobb | House | C | Window Sill | Wood | Intact | Tan | Negative | 0.2 | mg/cm2
232 | 1711 cobb | House | C | Wall | Concrete | Intact | Brown | Negative | 0.2 | mg/cm2
233 | 1711 cobb | House | D | Wall | Concrete | Intact | Brown | Negative | 0.3 | mg/cm2
234 | 1711 cobb | House | D | Window Sash | Wood | Intact | Tan | Negative | 0.1 | mg/cm2
235 | 1711 cobb | House | D | Window Sill | Wood | Intact | Tan | Negative | 0.2 | mg/cm2
236 | 1711 cobb | House | D | Window Frame | Wood | Intact | Tan | Negative | 0.1 | mg/cm2
237 | 1711 cobb | Foyer | B | Door Jamb | Wood | Intact | Tan | Positive | 2.3 | mg/cm2
238 | 1711 cobb | Foyer | B | Door Frame | Wood | Intact | Tan | Positive | 2.8 | mg/cm2
239 | 1711 cobb | Foyer | B | Ceiling | Wood | Intact | Tan | Negative | 0.9 | mg/cm2
240 | 1711 cobb | Foyer | D | Door | Wood | Deteriorated | Black | Positive | 2.5 | mg/cm2
241 | 1711 cobb | Kitchen | B | Door | Wood | Intact | Brown | Negative | 0.1 | mg/cm2
242 | 1711 cobb | Kitchen | B | Door Jamb | Wood | Intact | White | Positive | 2.5 | mg/cm2
243 | 1711 cobb | Kitchen | B | Door Frame | Wood | Deteriorated | White | Negative | 0.1 | mg/cm2
244 | 1711 cobb | Kitchen | C | Cabinets | Wood | Intact | Brown | Negative | 0 | mg/cm2
245 | 1711 cobb | Kitchen | C | Window Sill | Wood | Deteriorated | White | Negative | 0.3 | mg/cm2
246 | 1711 cobb | Kitchen | C | Window Sash | Wood | Deteriorated | White | Negative | 0.1 | mg/cm2
247 | 1711 cobb | Kitchen | C | Window Frame | Wood | Deteriorated | White | Negative | 0.1 | mg/cm2
248 | 1711 cobb | Kitchen | A | Wall | Drywall | Intact | Yellow | Negative | 0.2 | mg/cm2
249 | 1711 cobb | Living Room | A | Wall | Drywall | Intact | White | Negative | 0.3 | mg/cm2
250 | 1711 cobb | Living Room | A | Door Frame | Wood | Intact | White | Negative | 0.2 | mg/cm2
251 | 1711 cobb | Living Room | A | Crown Molding | Wood | Intact | White | Negative | 0.1 | mg/cm2
252 | 1711 cobb | Living Room | A | Ceiling | Drywall | Intact | White | Negative | 0.1 | mg/cm2
253 | 1711 cobb | Living Room | A | Door | Wood | Intact | Brown | Negative | 0 | mg/cm2
254 | 1711 cobb | Living Room | A | Floor | Wood | Intact | Brown | Negative | 0.2 | mg/cm2
255 | 1711 cobb | Living Room | A | Window Sill | Wood | Intact | White | Negative | 0.2 | mg/cm2
256 | 1711 cobb | Living Room | A | Window Sash | Wood | Intact | White | Negative | 0.1 | mg/cm2
257 | 1711 cobb | Living Room | A | Window Frame | Wood | Intact | White | Negative | 0.1 | mg/cm2
258 | 1711 cobb | Living Room | A | Baseboard | Wood | Intact | White | Negative | 0.2 | mg/cm2
259 | 1711 cobb | Bedroom 1 | A | Wall | Drywall | Intact | Orange | Negative | 0.2 | mg/cm2
260 | 1711 cobb | Bedroom 1 | A | Door Jamb | Wood | Intact | White | Negative | 0.1 | mg/cm2
261 | 1711 cobb | Bedroom 1 | A | Door Frame | Wood | Intact | Yellow | Negative | -0.1 | mg/cm2
262 | 1711 cobb | Bedroom 1 | A | Door | Wood | Intact | White | Negative | 0.1 | mg/cm2
263 | 1711 cobb | Bedroom 1 | C | Window Sill | Wood | Intact | Orange | Negative | 0.1 | mg/cm2
264 | 1711 cobb | Bedroom 1 | C | Window Frame | Wood | Intact | Orange | Negative | -0.1 | mg/cm2
265 | 1711 cobb | Bedroom 1 | C | Window Sash | Wood | Intact | White | Negative | 0.1 | mg/cm2
266 | 1711 cobb | Bedroom 2 | C | Window Sash | Wood | Intact | White | Negative | 0 | mg/cm2
267 | 1711 cobb | Bedroom 2 | C | Window Sill | Wood | Intact | White | Negative | 0.1 | mg/cm2
268 | 1711 cobb | Bedroom 2 | C | Window Frame | Wood | Intact | White | Negative | 0 | mg/cm2
269 | 1711 cobb | Bedroom 2 | A | Door Jamb | Wood | Deteriorated | White | Negative | 0.3 | mg/cm2
270 | 1711 cobb | Bedroom 2 | A | Door Frame | Wood | Deteriorated | White | Negative | 0.1 | mg/cm2
271 | 1711 cobb | Bedroom 2 | A | Door | Wood | Deteriorated | White | Negative | 0.1 | mg/cm2
272 | 1711 cobb | Bedroom 2 | B | Wall | Drywall | Intact | Blue | Negative | 0.1 | mg/cm2
273 | 1711 cobb | Bathroom | B | Wall | Drywall | Intact | Purple | Negative | 0.2 | mg/cm2
274 | 1711 cobb | Bathroom | B | Ceiling | Drywall | Intact | Green | Negative | 0.1 | mg/cm2
275 | 1711 cobb | Bathroom | D | Tub | Ceramic | Intact | White | Positive | 16.4 | mg/cm2
276 | 1711 cobb | Bathroom | C | Wall | Ceramic | Intact | Tan | Negative | 0.2 | mg/cm2
277 | 1711 cobb | Bathroom | D | Window Frame | Wood | Intact | Brown | Negative | 0.1 | mg/cm2
278 | 1711 cobb | Bathroom | B | Door Jamb | Wood | Deteriorated | Brown | Negative | 0 | mg/cm2
279 | 1711 cobb | Bathroom | B | Door Frame | Wood | Deteriorated | Brown | Negative | 0.1 | mg/cm2
280 | 1711 cobb | Bathroom | B | Door | Wood | Deteriorated | Brown | Negative | -0.1 | mg/cm2
281 | 1711 cobb | Bathroom | B | Floor | Ceramic | Intact | Grey | Negative | 0.4 | mg/cm2
282 | 1711 cobb | Bedroom 3 | C | Wall | Ceramic | Intact | Purple | Negative | 0.4 | mg/cm2
283 | 1711 cobb | Bedroom 3 | C | Door Jamb | Wood | Intact | White | Negative | 0.2 | mg/cm2
284 | 1711 cobb | Bedroom 3 | C | Door Frame | Wood | Intact | White | Negative | 0.3 | mg/cm2
285 | 1711 cobb | Bedroom 3 | C | Door | Wood | Intact | White | Negative | 0.1 | mg/cm2
286 | 1711 cobb | Bedroom 3 | D | Window Sill | Wood | Intact | White | Negative | 0 | mg/cm2
287 | 1711 cobb | Bedroom 3 | D | Window Sash | Wood | Intact | White | Negative | 0.3 | mg/cm2
288 | 1711 cobb | Bedroom 3 | D | Window Frame | Wood | Intact | White | Negative | 0.2 | mg/cm2
289 | 1711 cobb | Calibration |  |  |  |  | White | Negative | 0.9 | mg/cm2
290 | 1711 cobb | Calibration |  |  |  |  | White | Negative | 0.9 | mg/cm2
291 | 1711 cobb | Calibration |  |  |  |  | White | Positive | 1 | mg/cm2