## XRF DATA
Job Id | Reading # | Concentration | Units | 3 SD | Result | Calibration Reading | Action Level | RTA Present | Read Through | NomSecs | Date | Time | User | Mode | Analytic Mode | Latitude | Longitude | Accuracy | Job | Location | Room | Side | Componet | -->Member | Substrate | Condition | -->Cause | Color
| 83 | 0.9 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 5 | 2022-04-08 | 11:28 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Exterior | Calibration | D | Window | Frame | Wood | Intact |  | White
| 84 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-04-08 | 11:29 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Exterior | Calibration | D | Window | Frame | Wood | Intact |  | White
| 85 | 0.9 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 5 | 2022-04-08 | 11:29 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Exterior | Calibration | D | Window | Frame | Wood | Intact |  | White
| 86 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:34 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Kitchen | D | Window | Frame | Wood | Intact |  | Brown
| 87 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:34 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Kitchen | D | Window | Sill | Wood | Intact |  | Brown
| 88 | 0.5 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:34 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Kitchen | D | Window | Sash | Metal | Intact |  | Brown
| 89 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:35 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Kitchen | C | Cabinets |  | Wood | Intact |  | Brown
| 90 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:35 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Kitchen | C | Room | Wall | Wood | Intact |  | Brown
| 91 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:35 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Kitchen | C | Door |  | Wood | Intact |  | Tan
| 92 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:36 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Kitchen | C | Door | Jamb | Wood | Deteriorated |  | Tan
| 93 | 0.4 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:36 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Kitchen | C | Door | Jamb | Wood | Deteriorated |  | White
| 94 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:36 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Kitchen | C | Room | Crown Molding | Wood | Intact |  | White
| 95 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:37 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Hallway | C | Room | Wall | Drywall | Intact |  | Green
| 96 | -0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:37 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Hallway | A | Room | Wall | Drywall | Intact |  | Green
| 97 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:39 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Bedroom 1 | A | Room | Wall | Drywall | Intact |  | Pink
| 98 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:39 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Bedroom 1 | A | Door | --- | Wood | Intact |  | Brown
| 99 | 0.5 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:40 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Bedroom 1 | A | Door | Jamb | Wood | Intact |  | Green
| 100 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:40 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Bedroom 1 | A | Door | Frame | Wood | Intact |  | Pink
| 101 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:40 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Bedroom 1 | A | Room | Floor | Wood | Intact |  | Brown
| 102 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:41 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Bedroom 1 | C | Window | Sill | Wood | Intact |  | Brown
| 103 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:42 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Bathroom 1 | C | Window | Sill | Drywall | Intact |  | Purple
| 104 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:42 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Bathroom 1 | C | Room | Wall | Drywall | Deteriorated |  | Purple
| 105 | 18.1 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:43 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Bathroom 1 | D | Tub |  | Ceramic | Intact |  | White
| 106 | 1.1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-04-08 | 11:43 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Bathroom 1 | C | Room | Wall | Ceramic | Intact |  | White
| 107 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:44 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Bathroom 1 | A | Door | Jamb | Wood | Deteriorated |  | Green
| 108 | 0.5 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:44 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Bathroom 1 | A | Door | Frame | Wood | Deteriorated |  | Purple
| 109 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-04-08 | 11:45 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Bedroom 2 | B | Door | Frame | Wood | Intact |  | Purple
| 110 | 0.6 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 3 | 2022-04-08 | 11:46 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Bedroom 2 | B | Door | Jamb | Wood | Intact |  | Green
| 111 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:46 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Bedroom 2 | B | Room | Wall | Drywall | Intact |  | Purple
| 112 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:47 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Bedroom 2 | C | Window | Sill | Drywall | Deteriorated |  | Purple
| 113 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:47 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Bedroom 2 | C | Window | Sash | Metal | Deteriorated |  | White
| 114 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:48 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Bedroom 3 | A | Window | Sash | Metal | Deteriorated |  | Brown
| 115 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:49 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Bedroom 3 | B | Room | Wall | Wood | Deteriorated |  | Brown
| 116 | 0.7 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 4 | 2022-04-08 | 11:49 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Bedroom 3 | B | Door | Frame | Wood | Intact |  | White
| 117 | 0.7 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 3 | 2022-04-08 | 11:50 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Bedroom 3 | B | Door | Jamb | Wood | Deteriorated |  | Green
| 118 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:51 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Living Room | A | Door | --- | Wood | Intact |  | White
| 119 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:51 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Living Room | A | Room | Wall | Wood | Intact |  | Brown
| 120 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:52 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Living Room | A | Window | Sash | Metal | Deteriorated |  | White
| 121 | 0.4 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:52 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Den | A | Window | Sash | Metal | Deteriorated |  | White
| 122 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:52 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Den | A | Window | Sill | Drywall | Deteriorated |  | Green
| 123 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:53 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Den | A | Room | Wall | Drywall | Deteriorated |  | Green
| 124 | 0.4 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:53 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Den | C | Room | Baseboard | Wood | Deteriorated |  | Green
| 125 | 1.4 | mg/cm2 | 0.3 | Positive | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 11:54 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Den | C | Door | Jamb | Wood | Deteriorated |  | Green
| 126 | 1.1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-04-08 | 11:54 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Apartment / Residential | Den | C | Door | Frame | Wood | Deteriorated |  | Green
| 127 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 12:34 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Exterior | House | A | Room | Ceiling | Vinyl | Intact |  | White
| 128 | 0.6 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 12:34 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Exterior | House | A | Soffit |  | Vinyl | Intact |  | White
| 129 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 12:34 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Exterior | House | A | Fascia |  | Vinyl | Intact |  | White
| 130 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 12:35 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Exterior | House | A | Door | Frame | Wood | Intact |  | Blue
| 131 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 12:35 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Exterior | House | A | Door | --- | Wood | Intact |  | White
| 132 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 12:35 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Exterior | House | A | Room | Wall | Concrete | Intact |  | Blue
| 133 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 12:36 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Exterior | House | A | Window | Sill | Concrete | Deteriorated |  | Blue
| 134 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 12:36 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Exterior | House | A | Column |  | Concrete | Deteriorated |  | Blue
| 135 | 0.9 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 5 | 2022-04-08 | 12:36 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Exterior | House | A | Window | Sash | Metal | Deteriorated |  | White
| 136 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-04-08 | 12:37 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Exterior | House | A | Window | Sash | Metal | Deteriorated |  | White
| 137 | 0.8 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 5 | 2022-04-08 | 12:38 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Exterior | House | B | Window | Sash | Metal | Deteriorated |  | White
| 138 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 12:38 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Exterior | House | B | Window | Sash | Metal | Deteriorated |  | White
| 139 | 0.7 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 4 | 2022-04-08 | 12:38 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Exterior | House | B | Window | Sill | Concrete | Deteriorated |  | Blue
| 140 | 0.5 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 12:39 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Exterior | House | B | Room | Wall | Concrete | Deteriorated |  | Blue
| 141 | 0.4 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 12:39 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Exterior | House | C | Room | Wall | Concrete | Deteriorated |  | Blue
| 142 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 12:39 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Exterior | House | C | Door |  | Wood | Intact |  | Black
| 143 | 0.6 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 12:40 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Exterior | House | C | Window | Sash | Metal | Deteriorated |  | White
| 144 | 0.4 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 12:40 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Exterior | House | D | Window | Sash | Metal | Deteriorated |  | White
| 145 | -0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 12:41 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Exterior | House | D | Room | Wall | Concrete | Deteriorated |  | Blue
| 146 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 12:41 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Exterior | House | D | Window | Sill | Concrete | Deteriorated |  | Blue
| 147 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-08 | 12:41 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Exterior | House | C | Window | Sill | Concrete | Deteriorated |  | Blue
| 148 | 0.9 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 5 | 2022-04-08 | 12:42 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Exterior | Calibration | C | Window | Sill | Concrete | Deteriorated |  | Blue
| 149 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-04-08 | 12:42 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Exterior | Calibration | C | Window | Sill | Concrete | Deteriorated |  | Blue
| 150 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-04-08 | 12:43 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 390 leanna ln | Exterior | Calibration | C | Window | Sill | Concrete | Deteriorated |  | Blue