## Sheet1
Job Id | Reading # | Concentration | Units | 3 SD | Result | Calibration Reading | Action Level | RTA Present | Read Through | NomSecs | Date | Time | User | Mode | Analytic Mode | Latitude | Longitude | Accuracy | Job | Location | Room | Side | Componet | -->Member | Substrate | Condition | -->Cause | Color
| 287 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-04-29 | 12:15 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Apartment / Residential | Calibration | C | Room | Baseboard | Wood | Intact |  | White
| 288 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-04-29 | 12:15 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Apartment / Residential | Calibration | C | Room | Baseboard | Wood | Intact |  | White
| 289 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-04-29 | 12:15 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Apartment / Residential | Calibration | C | Room | Baseboard | Wood | Intact |  | White
| 290 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:18 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Exterior | Porch | A | Railing |  | Wood | Deteriorated |  | White
| 291 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:18 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Exterior | Porch | A | Column |  | Wood | Deteriorated |  | White
| 292 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:19 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Exterior | Porch | A | Porch | Floor | Wood | Deteriorated |  | White
| 293 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:19 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Exterior | Porch | A | Porch | Ceiling | Wood | Deteriorated |  | White
| 294 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:20 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Exterior | House | A | Room | Wall | Wood | Deteriorated |  | Yellow
| 295 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:21 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Exterior | House | A | Door | --- | Wood | Deteriorated |  | Green
| 296 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:21 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Exterior | House | A | Door | Casing | Wood | Deteriorated |  | Black
| 297 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:21 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Exterior | House | A | Door | Frame | Wood | Deteriorated |  | Yellow
| 298 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:22 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Exterior | House | A | Window | Sash | Metal | Deteriorated |  | Clear Coat
| 299 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:23 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Exterior | House | A | Window | Frame | Wood | Deteriorated |  | Yellow
| 300 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:23 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Exterior | House | A | Foundation | Skirt Board | Concrete | Deteriorated |  | Clear Coat
| 301 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:24 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Exterior | House | B | Room | Wall | Wood | Deteriorated |  | Yellow
| 302 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:24 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Exterior | House | B | Window | Sash | Metal | Deteriorated |  | Clear Coat
| 303 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:25 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Exterior | House | B | Window | Frame | Wood | Deteriorated |  | Yellow
| 304 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:25 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Exterior | House | B | Window | Shutter | Wood | Deteriorated |  | Green
| 305 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:25 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Exterior | House | B | Room | Wall | Wood | Deteriorated |  | Yellow
| 306 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:26 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Exterior | House | B | Door | --- | Metal | Deteriorated |  | White
| 307 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:27 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Exterior | House | B | Door | Casing | Wood | Deteriorated |  | Clear Coat
| 308 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:27 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Exterior | House | B | Window | Sash | Metal | Deteriorated |  | Clear Coat
| 309 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:28 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Exterior | House | B | Window | Frame | Wood | Deteriorated |  | Yellow
| 310 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:28 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Exterior | House | D | Window | Frame | Wood | Deteriorated |  | Yellow
| 311 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:28 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Exterior | House | D | Window | Sash | Wood | Deteriorated |  | Yellow
| 312 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:29 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Exterior | House | D | Window | Shutter | Wood | Deteriorated |  | Green
| 313 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:29 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Exterior | House | D | Room | Wall | Wood | Deteriorated |  | Yellow
| 314 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:33 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Apartment / Residential | Living Room/Kitchen | A | Room | Wall | Wood | Intact |  | Yellow
| 315 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:33 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Apartment / Residential | Living Room/Kitchen | A | Room | Ceiling | Drywall | Intact |  | White
| 316 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:34 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Apartment / Residential | Living Room/Kitchen | A | Room | Floor | Vinyl | Intact |  | Beige
| 317 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:34 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Apartment / Residential | Living Room/Kitchen | C | Window | Sash | Vinyl | Intact |  | Beige
| 318 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:34 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Apartment / Residential | Living Room/Kitchen | C | Window | Sill | Wood | Intact |  | Clear Coat
| 319 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:35 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Apartment / Residential | Bedroom 1 | C | Room | Wall | Wood | Intact |  | Beige
| 320 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:36 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Apartment / Residential | Living Room/Kitchen | C | Cabinets | Door | Wood | Intact |  | Clear Coat
| 321 | -0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:37 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Apartment / Residential | Bathroom 1 |  | Tub |  | Vinyl | Intact |  | White
| 322 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:37 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Apartment / Residential | Bathroom 2 |  | Tub |  | Vinyl | Intact |  | White
| 323 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:38 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Apartment / Residential | Bathroom 2 | A | Room | Wall | Wood | Intact |  | White
| 324 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:38 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Apartment / Residential | Bedroom 2 | A | Room | Wall | Wood | Intact |  | Clear Coat
| 325 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:39 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Apartment / Residential | Bedroom 2 | D | Window | Sash | Vinyl | Intact |  | Grey
| 326 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:39 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Apartment / Residential | Bedroom 2 | D | Window | Sill | Wood | Intact |  | Clear Coat
| 327 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:40 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Apartment / Residential | Bedroom 3 | D | Room | Ceiling | Drywall | Intact |  | White
| 328 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:40 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Apartment / Residential | Bedroom 3 | D | Room | Wall | Wood | Intact |  | Clear Coat
| 329 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:41 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Apartment / Residential | Bedroom 3 | A | Window | Sill | Wood | Intact |  | Clear Coat
| 330 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-04-29 | 12:41 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Apartment / Residential | Bedroom 3 | A | Window | Sash | Vinyl | Intact |  | Clear Coat
| 331 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-04-29 | 12:42 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Apartment / Residential | Calibration | A | Window | Sash | Vinyl | Intact |  | Clear Coat
| 332 | 1.1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-04-29 | 12:42 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Apartment / Residential | Calibration | A | Window | Sash | Vinyl | Intact |  | Clear Coat
| 333 | 1.1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-04-29 | 12:43 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4218 | Apartment / Residential | Calibration | A | Window | Sash | Vinyl | Intact |  | Clear Coat