## Sheet1
Job Id | Reading # | Concentration | Units | 3 SD | Result | Calibration Reading | Action Level | RTA Present | Read Through | NomSecs | Date | Time | User | Mode | Analytic Mode | Latitude | Longitude | Accuracy | Job | Location | Room | Side | Componet | -->Member | Substrate | Condition | -->Cause | Color
| 48 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-02 | 12:54 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Calibration | C | Window | Frame | Wood | Deteriorated |  | Clear Coat
| 49 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-02 | 12:55 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Calibration | C | Window | Frame | Wood | Deteriorated |  | Clear Coat
| 50 | 0.9 | mg/cm2 | 0.2 | Negative | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-02 | 12:55 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Calibration | C | Window | Frame | Wood | Deteriorated |  | Clear Coat
| 51 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 12:56 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Exterior | House | A | Porch | Floor | Wood | Intact |  | Clear Coat
| 52 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 12:57 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Exterior | House | A | Porch | Railing | Wood | Intact |  | Clear Coat
| 53 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 12:58 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Exterior | House | A | Soffit |  | Vinyl | Intact |  | Blue
| 54 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 12:59 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Exterior | House | A | Door | --- | Wood | Intact |  | White
| 55 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 12:59 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Exterior | House | A | Door | Casing | Wood | Intact |  | White
| 56 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:00 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Exterior | House | A | Window | Sash | Vinyl | Intact |  | White
| 57 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:00 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Exterior | House | A | Window | Frame | Vinyl | Intact |  | Blue
| 58 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:01 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Exterior | House | A | Room | Wall | Vinyl | Intact |  | White
| 59 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:01 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Exterior | House | B | Room | Wall | Vinyl | Intact |  | White
| 60 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:02 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Exterior | House | B | Window | Sash | Vinyl | Intact |  | White
| 61 | -0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:02 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Exterior | House | B | Window | Frame | Vinyl | Intact |  | Blue
| 62 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:02 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Exterior | House | C | Window | Frame | Vinyl | Intact |  | Blue
| 63 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:03 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Exterior | House | C | Window | Sash | Vinyl | Intact |  | White
| 64 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:03 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Exterior | House | C | Room | Wall | Vinyl | Intact |  | White
| 65 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:04 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Exterior | House | C | Door | --- | Wood | Deteriorated |  | White
| 66 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:04 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Exterior | House | C | Door | Casing | Wood | Deteriorated |  | White
| 67 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:04 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Exterior | House | D | Window | Sash | Vinyl | Deteriorated |  | White
| 68 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:05 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Exterior | House | D | Window | Frame | Vinyl | Intact |  | Blue
| 69 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:05 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Exterior | House | D | Room | Wall | Vinyl | Intact |  | White
| 70 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:07 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Living Room | A | Room | Wall | Drywall | Deteriorated |  | Green
| 71 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:07 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Living Room | A | Window | Sash | Vinyl | Intact |  | White
| 72 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:08 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Living Room | A | Window | Frame | Wood | Intact |  | Blue
| 73 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:08 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Living Room | A | Room | Floor | Wood | Intact |  | Clear Coat
| 74 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:09 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Living Room | A | Room | Crown Molding | Wood | Intact |  | Green
| 75 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:09 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Living Room | D | Door | --- | Wood | Intact |  | White
| 76 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:09 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Living Room | D | Door | Frame | Wood | Intact |  | Clear Coat
| 77 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:10 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Kitchen | A | Room | Wall | Drywall | Deteriorated |  | Yellow
| 78 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:11 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Kitchen | D | Door | --- | Wood | Deteriorated |  | Clear Coat
| 79 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:11 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Kitchen | D | Door | Casing | Wood | Deteriorated |  | Blue
| 80 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:11 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Kitchen | D | Door | Frame | Wood | Deteriorated |  | Blue
| 81 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:12 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Kitchen | D | Room | Crown Molding | Wood | Deteriorated |  | Blue
| 82 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:12 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Kitchen | C | Window | Sash | Vinyl | Intact |  | White
| 83 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:13 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Kitchen | C | Window | Frame | Wood | Intact |  | Blue
| 84 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:13 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Laundry Room | C | Window | Frame | Wood | Intact |  | Blue
| 85 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:14 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Laundry Room | C | Window | Sash | Vinyl | Intact |  | White
| 86 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:14 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Laundry Room | C | Room | Wall | Drywall | Deteriorated |  | White
| 87 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:14 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Laundry Room | B | Door | --- | Wood | Deteriorated |  | Clear Coat
| 88 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:15 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Laundry Room | B | Door | Casing | Wood | Deteriorated |  | Clear Coat
| 89 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:15 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Kitchen | B | Cabinets | Door | Wood | Intact |  | Clear Coat
| 90 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:16 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Bedroom 1 | C | Room | Wall | Drywall | Deteriorated |  | Blue
| 91 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:16 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Bedroom 1 | C | Window | Sash | Vinyl | Deteriorated |  | White
| 92 | -0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:17 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Bedroom 1 | C | Window | Frame | Wood | Deteriorated |  | Blue
| 93 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:17 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Bedroom 1 |  | Room | Ceiling | Drywall | Deteriorated |  | Blue
| 94 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:18 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Bedroom 1 |  | Room | Floor | Wood | Deteriorated |  | Clear Coat
| 95 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:18 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Bedroom 1 | A | Door | Casing | Wood | Deteriorated |  | Clear Coat
| 96 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:18 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Bedroom 1 | A | Door | Frame | Wood | Deteriorated |  | Clear Coat
| 97 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:19 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Bedroom 1 | A | Door | --- | Wood | Deteriorated |  | White
| 98 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:19 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Bedroom 2 | A | Door | --- | Wood | Deteriorated |  | White
| 99 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:19 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Bedroom 2 | A | Door | Casing | Wood | Deteriorated |  | Clear Coat
| 100 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:20 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Bedroom 2 | A | Room | Wall | Drywall | Deteriorated |  | White
| 101 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:20 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Bedroom 2 | C | Window | Sash | Vinyl | Deteriorated |  | White
| 102 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:21 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Bedroom 2 | C | Window | Frame | Wood | Deteriorated |  | White
| 103 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:21 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Bedroom 3 | C | Window | Frame | Wood | Deteriorated |  | Blue
| 104 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:22 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Bedroom 3 | D | Window | Sash | Vinyl | Deteriorated |  | White
| 105 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:22 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Bedroom 3 | D | Room | Wall | Drywall | Deteriorated |  | Blue
| 106 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:23 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Bedroom 3 | C | Door | --- | Wood | Deteriorated |  | White
| 107 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:23 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Bedroom 3 | C | Door | Casing | Wood | Intact |  | Clear Coat
| 108 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:24 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Bathroom | D | Room | Wall | Drywall | Intact |  | White
| 109 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:24 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Bathroom | C | Door | --- | Wood | Intact |  | Clear Coat
| 110 | 0 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:24 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Bathroom | C | Door | Casing | Wood | Intact |  | Clear Coat
| 111 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:25 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Bathroom | A | Window | Sash | Vinyl | Intact |  | White
| 112 | 0.2 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:25 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Bathroom |  | Room | Ceiling | Drywall | Intact |  | White
| 113 | 0.3 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:26 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Bathroom |  | Room | Floor | Vinyl | Intact |  | Beige
| 114 | 0.1 | mg/cm2 | 0.3 | Negative | FALSE | 1 | FALSE | FALSE | 2 | 2022-05-02 | 13:26 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Bathroom |  | Tub |  | Ceramic | Intact |  | Blue
| 115 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-02 | 13:27 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Calibration |  | Tub |  | Ceramic | Intact |  | Blue
| 116 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-02 | 13:27 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Calibration |  | Tub |  | Ceramic | Intact |  | Blue
| 117 | 1 | mg/cm2 | 0.2 | Positive | FALSE | 1 | FALSE | FALSE | 5 | 2022-05-02 | 13:27 | ihmo | Action Level | Lead Paint | 0 | 0 | 0 | 4233 | Apartment / Residential | Calibration |  | Tub |  | Ceramic | Intact |  | Blue